## Overview
Gas Statement of Opportunities (GSOO) Update supply-demand modelling results
High Scenario, 1-in-20 demand condition.
This data file contains the supply-demand modelling output from the High Scenario, 1-in-20 demand condition.
* Results summary
* Potential shortfalls observed in each modelling year by location
* Field development
* Pipeline utilisation and capacity
* Processing utilisation and capacity of each facility
* Demand at each location by year
The nodal topology of the model is included at right for reference.

## Link Pipeline Details
While modelling, it is often necessary to split pipelines into smaller segmets, referred to here as links.
The table below contains each link used within the model, the pipeline related to that link and the nodal locations the link connects.
Link | Pipeline | Pipeline description | From Node | To Node
APLNG | APLNG | APLNG main line | APLNG Hub | AP LNG
APLNGSpringGully | FRCP | Fairview-Reedy Creek Pipeline | Spring Gully | AP Woleebee
APWoleebee | APWoleebee | APLNG Combabula lateral | AP Woleebee | APLNG Hub
BellevueQCLNG | WGP | Wallumbilla to Gladstone Pipeline | Bellevue | QC LNG
CGP | CGP | Carpentaria Gas Pipeline | Ballera | Mount Isa
CometRidge | CometRidge | Comet Ridge Pipeline | Fairview | Wallumbilla
Condabri | Condabri | APLNG Condabri lateral | Condabri | APLNG Hub
DaltonCan | DaltonCan | Dalton to Canberra Pipeline | Dalton | Canberra
EGPNorth | EGP | Eastern Gas Pipeline | Hoskintown | Sydney
EGPSouth | EGP | Eastern Gas Pipeline | Gippsland | Hoskintown
GLNG | GLNG | GLNG main line | Fairview | G LNG
HoskinCan | HoskinCan | Hoskintown to Canberra lateral | Hoskintown | Canberra
ICNorth | IC | Vic-NSW Interconnect | Young | Wagga
ICSouth | IC | Vic-NSW Interconnect | Wagga | Melbourne
JordanBellevue | WGP | Wallumbilla to Gladstone Pipeline | Jordan | Bellevue
KenyaKogan | Windibri South | Windibri pipeline | Kenya | Kogan
KenyaRuby | Windibri North | Windibri pipeline | Kenya | Ruby
LMPEast | LMP | Longford to Melbourne Pipeline | Gippsland | Bass
LMPWest | LMP | Longford to Melbourne Pipeline | Bass | Melbourne
MAPSNorth | MAPS | Moomba to Adelaide Pipeline System | Moomba | Hallett
MAPSSouth | MAPS | Moomba to Adelaide Pipeline System | Hallett | Adelaide
MSPCentral | MSP | Moomba to Sydney Pipeline | Young | Dalton
MSPEast | MSP | Moomba to Sydney Pipeline | Dalton | Sydney
MSPWest | MSP | Moomba to Sydney Pipeline | Moomba | Young
NarrabriMSPLink | Narrabri | Narrabri to MSP pipeline (proposed) | Narrabri | Young
NGP | NGP | Northern Gas Pipeline (proposed) | Tennant Creek | Mt Isa
NQGP | NQGP | North Queensland Gas Pipeline | Moranbah | Townsville
QCWoleebeeBellevue | WGP | WGP Woleebee Creek lateral | QC Woleebee | Bellevue
QGPEast | QGP | Queensland Gas Pipeline | Gooimbah | Gladstone
QGPSouth | QGP | Queensland Gas Pipeline | Wallumbilla | Gooimbah
RBPEast | RBP | Roma-Brisbane Pipeline | Kogan | Brisbane
RBPWest | RBP | Roma-Brisbane Pipeline | Wallumbilla | Kogan
RubyJordan | WGP | Wallumbilla to Gladstone Pipeline | Ruby | Jordan
SEAGasEast | SEAGas | South East Australia Gas Pipeline | Port Campbell | Penola
SEAGasWest | SEAGas | South East Australia Gas Pipeline | Penola | Adelaide
SGFairview | SGFV | Spring Gully to Fairview Pipeline | Spring Gully | Fairview
SNP | SNP | Sydny to Newcastle Pipeline | Sydney | Newcastle
SWP | SWP | South West Pipeline | Port Campbell | Melbourne
SWQPEast | SWQP | South West Queensland Pipeline | Wallumbilla | Ballera
SWQPWest | SWQP | South West Queensland Pipeline | Ballera | Moomba
TGP | TGP | Tasmanian Gas Pipeline | Gippsland | Tasmania
Walloons | Walloons | Walloons Pipeline | Condabri | Wallumbilla

## Results Summary
PJ/annum
Year | 2P developed | 2P undeveloped | 2C3P | PR | Shortfall | Net Storage Withdrawal | Demand | Total Contracts
2016 | 1784.9568 | 5.6925 | 0 | 0 | 0 | 21.6815 | 1812.0908 | 1776.7813
2017 | 1995.4874 | 16.208 | 0 | 0 | 0.036477 | -4.8193 | 2006.9525 | 1874.3705
2018 | 2004.1386 | 18.1987 | 0 | 0 | 0.30286 | 1.1769 | 2023.646 | 1727.9972
2019 | 1482.7559 | 550.6406 | 0 | 0 | 0.31967 | -10.8567 | 2022.9257 | 1746.9671
2020 | 1092.6836 | 1061.8961 | 0 | 0 | 2.4915 | 3.2571 | 2159.8956 | 1707.6427
2021 | 627.4251 | 1553.4796 | 0 | 0 | 4.6159 | -0.51742 | 2185.0032 | 1621.9769
2022 | 603.2709 | 1555.9407 | 33.7045 | 0 | 11.8974 | 0.91142 | 2205.5941 | 1586.1263
2023 | 593.3557 | 1553.3675 | 61.685 | 0 | 25.7928 | 3.563 | 2237.2848 | 1533.1257
2024 | 558.8781 | 1557.261 | 61.854 | 44.6089 | 37.0808 | 1.4099 | 2260.4786 | 1517.7769
2025 | 516.2611 | 1550.7995 | 83.2343 | 85.3256 | 44.4358 | 3.8919 | 2284.4247 | 1474.1357
2026 | 441.1716 | 1666.0995 | 100.4905 | 87.2697 | 193.6789 | 14.0151 | 2502.1353 | 1466.0127
2027 | 31.4721 | 1736.1025 | 445.3815 | 89.7348 | 254.2801 | 10.7476 | 2567.7186 | 1443.8172
2028 | 38.6861 | 1608.204 | 576.4985 | 91.1145 | 270.5239 | -0.46686 | 2585.1372 | 1429.6455
2029 | 52.195 | 1603.81 | 234.9135 | 425.6446 | 281.999 | 1.3041 | 2599.4515 | 1425.7885
2030 | 52.195 | 1603.81 | 197.83 | 436.0619 | 332.5911 | -0.066478 | 2622.6959 | 1403.5475
2031 | 36.3348 | 1603.81 | 209.6174 | 444.0789 | 342.1729 | 0.13789 | 2636.2006 | 1420.3487
2032 | 24.888 | 1608.204 | 217.6331 | 454.8002 | 358.9489 | -0.31489 | 2664.3168 | 1438.3136
2033 | 24.82 | 1603.81 | 213.5371 | 466.6271 | 383.4342 | -0.44931 | 2691.9987 | 1434.4673
2034 | 24.82 | 1393.6712 | 423.6793 | 476.5291 | 406.1789 | -0.51508 | 2724.6159 | 1434.4529
2035 | 24.82 | 824.8723 | 991.6445 | 475.5259 | 423.368 | -1.8303 | 2739.3606 | 1434.0322

## Potential shortfalls
PJ/annum
Year | Adelaide | Ballera | Brisbane | Condabri | Gladstone | Hallett | Hoskintown | Kogan | Mount Isa | Sydney | Townsville | Train 7 | Wallumbilla
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.036477 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.30286 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0.00455 | 0 | 0 | 0 | 0 | 0 | 0.31512 | 0 | 0
2020 | 0 | 0 | 0 | 1.5784 | 0.0097 | 0 | 0 | 0.25975 | 0 | 0 | 0.53548 | 0 | 0.10815
2021 | 0 | 0 | 0 | 2.1271 | 0.07577 | 0 | 0 | 0.73367 | 0 | 0 | 1.4617 | 0 | 0.21768
2022 | 0 | 0 | 0 | 3.2924 | 0.2521 | 0 | 0 | 0.80042 | 0 | 0 | 7.348 | 0 | 0.20445
2023 | 0 | 0 | 0 | 3.7897 | 0.49427 | 0 | 0 | 0.27449 | 0 | 0 | 21.0836 | 0 | 0.15069
2024 | 0 | 0 | 0 | 2.3877 | 0.67648 | 0 | 0 | 0.46718 | 0 | 0 | 33.3956 | 0 | 0.15385
2025 | 0 | 0 | 0 | 3.2414 | 0.96106 | 0 | 0 | 1.21 | 0 | 0 | 38.7634 | 0 | 0.25999
2026 | 1.9234 | 0.58482 | 18.2249 | 22.0815 | 25.2166 | 0 | 0 | 28.9928 | 2.2831 | 3.1902 | 39.5867 | 49.7788 | 1.8161
2027 | 2.4845 | 0.70336 | 36.396 | 22.7151 | 27.0316 | 0 | 0 | 31.5547 | 7.869 | 6.2411 | 40.4598 | 76.7942 | 2.0309
2028 | 3.2409 | 0.68065 | 36.875 | 22.2585 | 27.3654 | 0 | 0 | 31.3694 | 18.1033 | 8.0265 | 43.6922 | 76.8744 | 2.0377
2029 | 4.2778 | 0.71534 | 37.306 | 22.4482 | 28.0453 | 0 | 0 | 32.0281 | 19.356 | 11.4914 | 47.5037 | 76.7654 | 2.0618
2030 | 5.4689 | 0.84536 | 37.8647 | 23.5565 | 50.2875 | 0 | 0 | 35.7333 | 34.782 | 16.3352 | 49.5508 | 75.7813 | 2.3855
2031 | 5.819 | 0.9642 | 38.2998 | 24.3395 | 50.7482 | 0 | 0 | 39.0205 | 35.102 | 21.8783 | 50.582 | 72.8892 | 2.53
2032 | 7.086 | 1.0983 | 38.749 | 25.5274 | 51.2316 | 0 | 0.46872 | 43.5673 | 35.437 | 28.0628 | 52.0331 | 72.9587 | 2.7289
2033 | 8.8465 | 1.2693 | 39.2398 | 26.9388 | 51.7763 | 0 | 1.4101 | 49.6855 | 35.784 | 39.0201 | 53.5738 | 72.8604 | 3.0295
2034 | 11.0368 | 1.3822 | 39.7047 | 27.8518 | 52.2843 | 0 | 1.9269 | 53.851 | 36.132 | 51.5447 | 54.3825 | 72.846 | 3.236
2035 | 11.2172 | 1.4361 | 40.4581 | 28.287 | 52.801 | 0.039397 | 2.3492 | 55.7649 | 36.483 | 63.8099 | 54.7152 | 72.7256 | 3.2815

## Reserves Fields Summary
PJ/annum
Location | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Bass | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455
Camden | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Casino Henry Netherby | 46.799 | 70.4387 | 27.3788 | 33.5634 | 12.0801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooper Eromanga | 117.2223 | 121.1644 | 130.6904 | 135.3375 | 137.25 | 136.875 | 136.875 | 136.875 | 137.25 | 136.875 | 136.875 | 136.875 | 137.25 | 136.875 | 136.875 | 136.875 | 137.25 | 136.875 | 136.875 | 136.875
GBJV & Turrum & Kipper | 235.0408 | 222.5625 | 261.823 | 260.8143 | 295.5564 | 301.2675 | 303.647 | 312.6494 | 320.6483 | 330.3747 | 337.0286 | 342.614 | 340.7945 | 329.8815 | 338.6559 | 345.0407 | 353.2215 | 360.4712 | 365.7887 | 366.2619
Gippsland - Non GBJV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gloucester | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gunnedah | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Halladale/Black Watch/Speculant | 0 | 0 | 0 | 0 | 2.4068 | 23.4066 | 27.8108 | 28.3758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ironbark | 5.6925 | 16.208 | 18.1987 | 18.25 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5
La Bella | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.6089 | 83.8302 | 86.9242 | 88.3166 | 90.1553 | 95.4438 | 96.5559 | 98.269 | 100.242 | 105.3506 | 109.2637 | 108.0397
Longtom & Sole | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6447 | 4.0538 | 6.0254 | 6.0431 | 6.6521 | 13.7981 | 27.375 | 27.375 | 23.3022 | 19.2611 | 15.7071 | 15.7105 | 14.8768
Minerva | 16 | 0 | 0 | 0 | 19.6088 | 7.1907 | 7.8719 | 10.0786 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Moranbah | 13.1522 | 14.7948 | 17.9825 | 18.0491 | 19.6194 | 22.1791 | 24.1407 | 24.7872 | 24.888 | 24.82 | 24.82 | 24.82 | 24.888 | 24.82 | 24.82 | 24.82 | 24.888 | 24.82 | 24.82 | 24.82
Otway Gas Project | 15.606 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - APLNG | 486.4877 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245
QLD CSG - Arrow | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 33.945 | 33.945 | 33.945
QLD CSG - GLNG | 211.5089 | 317.4867 | 318.0497 | 314.4101 | 315.7798 | 315.9788 | 316.4234 | 320.7554 | 321.2483 | 320.8735 | 325.58 | 325.58 | 326.472 | 325.58 | 325.58 | 325.58 | 326.472 | 325.58 | 325.58 | 325.58
QLD CSG - Other | 5.856 | 5.84 | 5.84 | 10.4025 | 10.4185 | 10.4025 | 10.4025 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84
QLD CSG - QCLNG | 573.724 | 589.5552 | 588.7293 | 588.9246 | 633.4307 | 638.3533 | 638.3697 | 638.0271 | 639.7987 | 641.1112 | 686.2 | 686.2 | 688.08 | 686.2 | 686.2 | 686.2 | 688.08 | 686.2 | 686.2 | 686.2
Surat-Bowen-Denison | 0 | 0 | 0 | 0 | 16.5113 | 35.1062 | 37.23 | 37.23 | 37.332 | 37.23 | 37.23 | 37.23 | 37.332 | 37.0835 | 0 | 0 | 0 | 0 | 0 | 0
Unconventional Otway | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4954 | 0.34553 | 1.4183 | 0.95925 | 0.31928 | 0.85013 | 0.7692 | 1.3367 | 0.80523 | 1.4766 | 1.2244

## Reserves Fields
PJ/annum
Location | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Bass_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 13.672 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455
Bass_2P developed | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 10.783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Camden_2P developed | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Casino Henry Netherby_2P developed | 46.799 | 70.4387 | 27.3788 | 33.5634 | 12.0801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooper Eromanga_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.5825 | 137.25 | 136.875 | 136.875 | 136.875 | 137.25 | 136.875 | 136.875 | 136.875
Cooper Eromanga_2P developed | 117.2223 | 121.1644 | 130.6904 | 135.3375 | 137.25 | 136.875 | 136.875 | 136.875 | 137.25 | 136.875 | 74.5855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooper Eromanga_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62.2895 | 132.2925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cooper Eromanga_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GBJV & Turrum & Kipper_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3055 | 342.614 | 340.7945 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GBJV & Turrum & Kipper_2P developed | 235.0408 | 222.5625 | 261.823 | 260.8143 | 295.5564 | 301.2675 | 303.647 | 312.6494 | 320.6483 | 330.3747 | 334.7231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GBJV & Turrum & Kipper_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 329.8815 | 338.6559 | 345.0407 | 353.2215 | 360.4712 | 365.7887 | 366.2619
Gippsland - Non GBJV_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gippsland - Non GBJV_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gloucester_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gloucester_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gunnedah_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gunnedah_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Halladale/Black Watch/Speculant_2P developed | 0 | 0 | 0 | 0 | 2.4068 | 23.4066 | 27.8108 | 28.3758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ironbark_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.5493 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5
Ironbark_2P undeveloped | 5.6925 | 16.208 | 18.1987 | 18.25 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 14.9507 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
La Bella_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.6089 | 83.8302 | 86.9242 | 88.3166 | 90.1553 | 95.4438 | 96.5559 | 98.269 | 100.242 | 105.3506 | 109.2637 | 108.0397
Longtom & Sole_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.7874 | 19.2611 | 15.7071 | 15.7105 | 14.8768
Longtom & Sole_2P developed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6447 | 4.0538 | 6.0254 | 6.0431 | 6.6521 | 13.7981 | 27.375 | 27.375 | 11.5148 | 0 | 0 | 0 | 0
Longtom & Sole_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Longtom & Sole_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Minerva_2P developed | 16 | 0 | 0 | 0 | 19.6088 | 7.1907 | 7.8719 | 10.0786 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Moranbah_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Moranbah_2P developed | 13.1522 | 14.7948 | 17.9825 | 18.0491 | 19.6194 | 22.1791 | 24.1407 | 24.7872 | 24.888 | 24.82 | 24.82 | 24.82 | 24.888 | 24.82 | 24.82 | 24.82 | 24.888 | 24.82 | 24.82 | 24.82
Moranbah_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Otway Gas Project_2P developed | 15.606 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - APLNG_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - APLNG_2P developed | 486.4877 | 552.245 | 552.245 | 278.5723 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - APLNG_2P undeveloped | 0 | 0 | 0 | 273.6727 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245 | 553.758 | 552.245 | 552.245 | 552.245
QLD CSG - Arrow_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - Arrow_2P developed | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 18.166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - Arrow_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.779 | 33.945 | 33.945 | 34.038 | 33.945 | 33.945 | 33.945 | 34.038 | 33.945 | 33.945 | 33.945
QLD CSG - Arrow_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - GLNG_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92.7377
QLD CSG - GLNG_2P developed | 211.5089 | 317.4867 | 318.0497 | 60.2547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - GLNG_2P undeveloped | 0 | 0 | 0 | 254.1554 | 315.7798 | 315.9788 | 316.4234 | 320.7554 | 321.2483 | 320.8735 | 325.58 | 325.58 | 326.472 | 325.58 | 325.58 | 325.58 | 326.472 | 325.58 | 325.58 | 232.8423
QLD CSG - Other_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - Other_2P developed | 5.856 | 5.84 | 5.84 | 5.84 | 1.624 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - Other_2P undeveloped | 0 | 0 | 0 | 4.5625 | 8.7945 | 10.4025 | 10.4025 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84
QLD CSG - Other_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - QCLNG_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.1388 | 686.2
QLD CSG - QCLNG_2P developed | 573.724 | 589.5552 | 588.7293 | 588.9246 | 486.4669 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
QLD CSG - QCLNG_2P undeveloped | 0 | 0 | 0 | 0 | 146.9638 | 638.3533 | 638.3697 | 638.0271 | 639.7987 | 641.1112 | 686.2 | 686.2 | 688.08 | 686.2 | 686.2 | 686.2 | 688.08 | 686.2 | 476.0612 | 0
QLD CSG - QCLNG_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Surat-Bowen-Denison_2C3P | 0 | 0 | 0 | 0 | 0 | 0 | 20.0325 | 37.23 | 37.332 | 37.23 | 37.23 | 37.23 | 37.332 | 37.0835 | 0 | 0 | 0 | 0 | 0 | 0
Surat-Bowen-Denison_2P developed | 0 | 0 | 0 | 0 | 16.5113 | 35.1062 | 15.1975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Surat-Bowen-Denison_2P undeveloped | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Unconventional Otway_PR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4954 | 0.34553 | 1.4183 | 0.95925 | 0.31928 | 0.85013 | 0.7692 | 1.3367 | 0.80523 | 1.4766 | 1.2244

## Reserves Facility Summary
PJ/annum
Location | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
Bellevue | 80.52 | 80.3 | 80.3 | 80.3 | 80.52 | 80.3 | 80.3 | 80.3 | 80.52 | 80.3 | 80.3 | 80.3 | 80.52 | 80.3 | 80.3 | 80.3 | 80.52 | 80.3 | 80.3 | 80.3
Berwyndale South | 41.9979 | 46.1639 | 45.5574 | 45.8441 | 45.915 | 46.9052 | 46.4534 | 46.3334 | 46.9342 | 46.9407 | 51.1 | 51.1 | 51.24 | 51.1 | 51.1 | 51.1 | 51.24 | 51.1 | 51.1 | 51.1
Camden | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Combabula | 59.3066 | 82.125 | 82.125 | 82.125 | 82.35 | 82.125 | 82.125 | 82.125 | 82.35 | 82.125 | 82.125 | 82.125 | 82.35 | 82.125 | 82.125 | 82.125 | 82.35 | 82.125 | 82.125 | 82.125
Condabri Central | 54.4029 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75
Condabri North | 54.6041 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75
Condabri South | 44.9739 | 45.625 | 45.625 | 45.625 | 45.75 | 45.625 | 45.625 | 45.625 | 45.75 | 45.625 | 45.625 | 45.625 | 45.75 | 45.625 | 45.625 | 45.625 | 45.75 | 45.625 | 45.625 | 45.625
Daandine | 20.13 | 20.075 | 20.075 | 20.075 | 20.13 | 20.075 | 20.075 | 20.075 | 20.13 | 20.075 | 20.075 | 20.075 | 20.13 | 20.075 | 20.075 | 20.075 | 20.13 | 20.075 | 20.075 | 20.075
Dawson Valley | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84 | 5.856 | 5.84 | 5.84 | 5.84
Eurombah Creek | 47.0325 | 65.7 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7
Fairview | 168.4084 | 211.7 | 211.7 | 211.7 | 212.28 | 211.7 | 211.7 | 211.7 | 212.28 | 211.7 | 211.7 | 211.7 | 212.28 | 211.7 | 211.7 | 211.7 | 212.28 | 211.7 | 211.7 | 211.7
Gloucester | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Iona | 46.799 | 70.4387 | 27.3788 | 33.5634 | 12.0801 | 0 | 0 | 0 | 29.2683 | 49.3458 | 48.9807 | 49.4345 | 51.4811 | 57.3244 | 58.7522 | 58.2429 | 61.6401 | 61.2435 | 67.3621 | 66.1498
Ironbark | 5.6925 | 16.208 | 18.1987 | 18.25 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5 | 36.6 | 36.5 | 36.5 | 36.5
Jordan | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25
Kenya | 57.6924 | 60.8897 | 60.6703 | 60.5788 | 61.3417 | 60.8525 | 61.3647 | 61.186 | 60.981 | 60.9572 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7 | 65.88 | 65.7 | 65.7 | 65.7
Kogan North | 4.392 | 4.38 | 4.38 | 4.38 | 4.392 | 4.38 | 4.38 | 4.38 | 4.392 | 4.38 | 4.38 | 4.38 | 4.392 | 4.38 | 4.38 | 4.38 | 4.392 | 4.38 | 4.38 | 4.38
Lang Lang | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455 | 24.522 | 24.455 | 24.455 | 24.455
Longford | 235.0408 | 222.5625 | 261.823 | 260.8143 | 295.5564 | 301.2675 | 303.647 | 312.6494 | 320.6483 | 330.3747 | 337.0286 | 342.614 | 340.7945 | 329.8815 | 338.6559 | 345.0407 | 353.2215 | 360.4712 | 365.7887 | 366.2619
Minerva | 16 | 0 | 0 | 0 | 19.6088 | 7.1907 | 7.8719 | 10.0786 | 8.0713 | 10.0041 | 9.2959 | 9.8508 | 9.9293 | 9.495 | 10.0361 | 10.0698 | 10.7959 | 10.6851 | 11.1307 | 10.6754
Moomba | 117.2223 | 121.1644 | 130.6904 | 135.3375 | 137.25 | 136.875 | 136.875 | 136.875 | 137.25 | 136.875 | 136.875 | 136.875 | 137.25 | 136.875 | 136.875 | 136.875 | 137.25 | 136.875 | 136.875 | 136.875
Moranbah | 13.1522 | 14.7948 | 17.9825 | 18.0491 | 19.6194 | 22.1791 | 24.1407 | 24.7872 | 24.888 | 24.82 | 24.82 | 24.82 | 24.888 | 24.82 | 24.82 | 24.82 | 24.888 | 24.82 | 24.82 | 24.82
Narrabri | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Orana | 71.0443 | 71.175 | 71.175 | 71.175 | 71.37 | 71.175 | 71.175 | 71.175 | 71.37 | 71.175 | 71.175 | 71.175 | 71.37 | 71.175 | 71.175 | 71.175 | 71.37 | 71.175 | 71.175 | 71.175
Orbost | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6447 | 4.0538 | 6.0254 | 6.0431 | 6.6521 | 13.7981 | 27.375 | 27.375 | 23.3022 | 19.2611 | 15.7071 | 15.7105 | 14.8768
Otway | 15.606 | 38 | 38 | 38 | 40.4068 | 61.4066 | 65.8108 | 66.3758 | 45.2692 | 25.9758 | 28.9931 | 30.4495 | 29.7041 | 28.9438 | 28.6177 | 30.7255 | 29.1427 | 34.2273 | 32.2475 | 32.4388
Peat | 5.49 | 5.475 | 5.475 | 5.475 | 5.49 | 5.475 | 5.475 | 5.475 | 5.49 | 5.475 | 5.475 | 5.475 | 5.49 | 5.475 | 5.475 | 5.475 | 5.49 | 5.475 | 5.475 | 5.475
Reedy Creek | 39.2378 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75 | 54.9 | 54.75 | 54.75 | 54.75
Rolleston | 0 | 0 | 0 | 0 | 5.6503 | 10.95 | 10.95 | 10.95 | 10.98 | 10.95 | 10.95 | 10.95 | 10.98 | 10.8935 | 0 | 0 | 0 | 0 | 0 | 0
Roma Hub2 | 41.6539 | 102.93 | 102.93 | 102.93 | 103.212 | 102.93 | 102.93 | 102.93 | 103.212 | 102.93 | 102.93 | 102.93 | 103.212 | 102.93 | 102.93 | 102.93 | 103.212 | 102.93 | 102.93 | 102.93
Ruby Jo | 64.1137 | 73.7016 | 73.7016 | 73.7016 | 116.2541 | 121.7956 | 121.7516 | 121.7077 | 121.9635 | 124.4133 | 160.6 | 160.6 | 161.04 | 160.6 | 160.6 | 160.6 | 161.04 | 160.6 | 160.6 | 160.6
Scotia | 1.4465 | 2.8567 | 3.4197 | 4.3426 | 4.8503 | 5.9113 | 6.3559 | 6.1254 | 5.7563 | 6.2435 | 10.95 | 10.95 | 10.98 | 10.95 | 10.95 | 10.95 | 10.98 | 10.95 | 10.95 | 10.95
Silver Springs | 0 | 0 | 0 | 0 | 1.4084 | 3.7813 | 4.38 | 4.38 | 4.392 | 4.38 | 4.38 | 4.38 | 4.392 | 4.38 | 0 | 0 | 0 | 0 | 0 | 0
Spring Gully | 23.0546 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185
Strathblane | 22.903 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185 | 25.254 | 25.185 | 25.185 | 25.185
Talinga | 43.4215 | 43.8 | 43.8 | 43.8 | 43.92 | 43.8 | 43.8 | 43.8 | 43.92 | 43.8 | 43.8 | 43.8 | 43.92 | 43.8 | 43.8 | 43.8 | 43.92 | 43.8 | 43.8 | 43.8
Talinga North | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Taloona | 13.5155 | 15.33 | 15.33 | 15.33 | 15.372 | 15.33 | 15.33 | 15.33 | 15.372 | 15.33 | 15.33 | 15.33 | 15.372 | 15.33 | 15.33 | 15.33 | 15.372 | 15.33 | 15.33 | 15.33
Taloona 2 | 7.501 | 8.395 | 8.395 | 8.395 | 8.418 | 8.395 | 8.395 | 8.395 | 8.418 | 8.395 | 8.395 | 8.395 | 8.418 | 8.395 | 8.395 | 8.395 | 8.418 | 8.395 | 8.395 | 8.395
Tipton West | 9.516 | 9.49 | 9.49 | 9.49 | 9.516 | 9.49 | 9.49 | 9.49 | 9.516 | 9.49 | 9.49 | 9.49 | 9.516 | 9.49 | 9.49 | 9.49 | 9.516 | 9.49 | 9.49 | 9.49
Woleebee Creek | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25 | 164.7 | 164.25 | 164.25 | 164.25
Wungoona | 0 | 0 | 0 | 0 | 3.8549 | 9.4249 | 10.95 | 10.95 | 10.98 | 10.95 | 10.95 | 10.95 | 10.98 | 10.95 | 0 | 0 | 0 | 0 | 0 | 0
Yellowbank | 0 | 0 | 0 | 0 | 5.5978 | 10.95 | 10.95 | 10.95 | 10.98 | 10.95 | 10.95 | 10.95 | 10.98 | 10.86 | 0 | 0 | 0 | 0 | 0 | 0

## Pipeline Utilisation
Year | APLNG | APLNGSpringGully | APWoleebee | BellevueQCLNG | BWP | CGP | CometRidge | CometRidge rev | Condabri | DaltonCan | EGPNorth | EGPSouth | GLNG | GLNG-Arrow | HoskinCan | ICNorth rev | ICSouth rev | JordanBellevue | KenyaKogan | KenyaRuby | LMPEast | LMPWest | MAPSNorth | MAPSSouth | MSPCentral | MSPCentral rev | MSPEast | MSPEast rev | MSPWest | MSPWest rev | NQGP | QCLNG-Arrow | QCWoleebeeBellevue | QGPEast | QGPSouth | RBPEast | RBPWest rev | RubyJordan | SEAGasEast | SEAGasWest | SGFairview | SNP | SNP rev | SWP | SWP rev | SWQPEast | SWQPEast rev | SWQPWest rev | TGP | Walloons
2016 | 68% | 27% | 54% | 85% | 92% | 69% | 0% | -27% | 74% | 18% | 68% | 87% | 60% | 0% | 17% | 0% | -1% | 41% | 91% | 0% | 30% | 33% | 74% | 58% | 3% | 0% | 1% | 0% | 11% | 0% | 17% | 0% | 29% | 92% | 81% | 43% | -40% | 11% | 20% | 18% | 82% | 0% | -1% | 24% | 0% | 0% | -5% | -29% | 15% | 54%
2017 | 91% | 61% | 80% | 86% | 99% | 67% | 0% | -27% | 90% | 17% | 70% | 85% | 76% | 0% | 18% | 0% | -1% | 43% | 98% | 0% | 28% | 30% | 77% | 61% | 3% | 0% | 1% | 0% | 10% | 0% | 21% | 0% | 29% | 92% | 82% | 43% | -78% | 13% | 17% | 15% | 48% | 1% | -1% | 31% | 0% | 0% | -6% | -30% | 15% | 0%
2018 | 91% | 47% | 77% | 86% | 99% | 68% | 0% | -44% | 93% | 14% | 67% | 82% | 84% | 0% | 21% | 0% | -1% | 43% | 97% | 0% | 39% | 42% | 62% | 46% | 2% | 0% | 0% | 0% | 9% | 0% | 29% | 0% | 29% | 92% | 82% | 43% | -84% | 13% | 20% | 18% | 67% | 1% | -1% | 2% | 0% | 0% | -25% | -49% | 15% | 0%
2019 | 91% | 48% | 77% | 86% | 99% | 68% | 0% | -49% | 93% | 11% | 64% | 80% | 86% | 0% | 23% | -1% | -1% | 43% | 97% | 0% | 39% | 42% | 45% | 29% | 1% | 0% | 0% | 0% | 9% | 0% | 29% | 0% | 29% | 94% | 83% | 44% | -85% | 13% | 26% | 24% | 66% | 1% | -1% | 1% | 0% | 0% | -42% | -66% | 15% | 0%
2020 | 99% | 82% | 86% | 94% | 100% | 82% | 0% | -85% | 100% | 11% | 64% | 80% | 94% | 0% | 23% | -28% | -28% | 50% | 98% | 0% | 49% | 51% | 17% | 1% | 1% | 0% | 0% | 0% | 0% | -3% | 32% | 0% | 29% | 95% | 63% | 44% | -86% | 21% | 45% | 43% | 20% | 1% | -1% | 3% | -60.5% | 0% | -71% | -99% | 16% | 0%
2021 | 100% | 93% | 88% | 95% | 99% | 82% | 0% | -92% | 99% | 10% | 65% | 80% | 94% | 0% | 23% | -30% | -31% | 51% | 98% | 0% | 50% | 53% | 17% | 1% | 1% | 0% | 0% | 0% | 0% | -5% | 38% | 0% | 29% | 95% | 45% | 44% | -83% | 22% | 45% | 43% | 5% | 1% | -1% | 3% | -73% | 0% | -71% | -100% | 16% | 0%
2022 | 100% | 93% | 88% | 95% | 98% | 76% | 0% | -92% | 99% | 14% | 66% | 81% | 94% | 0% | 20% | -33% | -35% | 51% | 98% | 0% | 50% | 53% | 17% | 1% | 2% | 0% | 0% | 0% | 0% | -5% | 43% | 0% | 29% | 95% | 45% | 44% | -76% | 22% | 49% | 46% | 4% | 1% | -1% | 4% | -72.5% | 0% | -73% | -100% | 16% | 0%
2023 | 100% | 94% | 88% | 95% | 97% | 76% | 0% | -92% | 99% | 15% | 70% | 85% | 94% | 0% | 19% | -37% | -42% | 51% | 98% | 0% | 52% | 55% | 18% | 2% | 3% | 0% | 1% | 0% | 0% | -7% | 44% | 0% | 29% | 95% | 45% | 44% | -74% | 22% | 54% | 51% | 4% | 1% | -1% | 2% | -72% | 0% | -73% | -100% | 16% | 0%
2024 | 100% | 95% | 89% | 95% | 98% | 76% | 0% | -92% | 99% | 25% | 74% | 88% | 94% | 0% | 13% | -46% | -52% | 51% | 99% | 0% | 53% | 56% | 19% | 3% | 6% | 0% | 3% | 0% | 0% | -9% | 44% | 0% | 29% | 96% | 45% | 45% | -80% | 22% | 57% | 54% | 3% | 1% | -1% | 2% | -69% | 0% | -73% | -100% | 16% | 0%
2025 | 100% | 95% | 89% | 95% | 98% | 77% | 0% | -92% | 99% | 27% | 78% | 91% | 94% | 0% | 11% | -54% | -60% | 52% | 99% | 0% | 55% | 58% | 20% | 4% | 9% | 0% | 7% | -1% | 1% | -9% | 44% | 0% | 29% | 96% | 46% | 45% | -78% | 22% | 60% | 58% | 3% | 1% | -1% | 3% | -72% | 0% | -71% | -98% | 16% | 0%
2026 | 100% | 79% | 85% | 121% | 70% | 72% | 0% | -88% | 102% | 30% | 81% | 94% | 95% | 0% | 9% | -61% | -65% | 78% | 8% | 99% | 56% | 59% | 19% | 3% | 11% | 0% | 10% | -1% | 0% | -9% | 44% | 0% | 29% | 53% | 2% | 24% | 0% | 48% | 61% | 59% | 24% | 1% | -1% | 3% | -72% | 0% | -75% | -100% | 16% | 0%
2027 | 100% | 79% | 85% | 122% | 100% | 60% | 0% | -100% | 102% | 32% | 82% | 96% | 99% | 0% | 9% | -67% | -71% | 78% | 7% | 100% | 57% | 59% | 19% | 3% | 13% | 0% | 11% | -1% | 1% | -10% | 44% | 0% | 29% | 50% | 0% | 4% | 0% | 48% | 62% | 60% | 24% | 1% | -1% | 3% | -71% | 0% | -79% | -100% | 17% | 0%
2028 | 100% | 79% | 85% | 122% | 100% | 37% | 0% | -100% | 103% | 33% | 83% | 96% | 99% | 0% | 8% | -74% | -77% | 78% | 7% | 100% | 58% | 60% | 18% | 3% | 15% | 0% | 13% | -1% | 1% | -10% | 44% | 0% | 29% | 50% | 0% | 3% | 0% | 48% | 63% | 61% | 24% | 1% | -1% | 3% | -71% | 0% | -87% | -100% | 17% | 0%
2029 | 100% | 79% | 85% | 122% | 100% | 35% | 0% | -100% | 102% | 35% | 84% | 97% | 99% | 0% | 7% | -77% | -81% | 78% | 7% | 100% | 58% | 61% | 18% | 3% | 17% | 0% | 14% | -1% | 1% | -10% | 44% | 0% | 29% | 50% | 0% | 3% | 0% | 48% | 65% | 63% | 24% | 1% | -1% | 4% | -67% | 0% | -88% | -100% | 17% | 0%
2030 | 100% | 79% | 85% | 122% | 100% | 0% | 0% | -100% | 102% | 38% | 85% | 98% | 99% | 0% | 5% | -84% | -89% | 78% | 7% | 100% | 60% | 62% | 18% | 3% | 19% | 0% | 16% | -1% | 1% | -11% | 44% | 0% | 29% | 11% | 0% | 3% | 0% | 48% | 67% | 65% | 24% | 1% | -1% | 4% | -69% | 0% | -100% | -100% | 17% | 0%
2031 | 100% | 79% | 85% | 122% | 100% | 0% | 0% | -100% | 102% | 40% | 86% | 98% | 99% | 0% | 4% | -87% | -91% | 78% | 7% | 100% | 60% | 63% | 18% | 2% | 20% | 0% | 16% | -1% | 1% | -9% | 43% | 0% | 29% | 11% | 0% | 3% | 0% | 48% | 67% | 65% | 24% | 1% | -1% | 4% | -68.5% | 0% | -100% | -100% | 17% | 0%
2032 | 100% | 80% | 85% | 122% | 100% | 0% | 0% | -100% | 103% | 42% | 87% | 99% | 99% | 0% | 3% | -91% | -95% | 78% | 7% | 100% | 61% | 63% | 18% | 2% | 21% | 0% | 17% | -1% | 1% | -8% | 44% | 0% | 29% | 11% | 0% | 3% | 0% | 48% | 69% | 67% | 24% | 1% | -1% | 5% | -68.5% | 0% | -100% | -100% | 17% | 0%
2033 | 100% | 79% | 85% | 122% | 100% | 0% | 0% | -100% | 102% | 44% | 87% | 99% | 99% | 0% | 2% | -93% | -99% | 78% | 7% | 100% | 61% | 64% | 17% | 1% | 22% | 0% | 17% | 0% | 1% | -7% | 43% | 0% | 29% | 11% | 0% | 3% | 0% | 48% | 71% | 69% | 23% | 1% | -1% | 5% | -68% | 0% | -100% | -100% | 17% | 0%
2034 | 100% | 79% | 85% | 122% | 100% | 0% | 0% | -100% | 102% | 45% | 87% | 99% | 99% | 0% | 2% | -93% | -100% | 78% | 7% | 100% | 62% | 64% | 17% | 1% | 22% | 0% | 17% | 0% | 0% | -6% | 43% | 0% | 29% | 11% | 0% | 3% | 0% | 48% | 74% | 71% | 23% | 0% | 0% | 6% | -66% | 0% | -100% | -100% | 17% | 0%
2035 | 100% | 80% | 85% | 122% | 100% | 0% | 0% | -100% | 102% | 43% | 88% | 99% | 99% | 0% | 3% | -85% | -100% | 78% | 7% | 100% | 62% | 65% | 17% | 0% | 19% | 0% | 14% | 0% | 0% | -5% | 43% | 0% | 29% | 11% | 0% | 3% | -1% | 48% | 72% | 70% | 23% | 1% | -1% | 6% | -66% | 0% | -100% | -100% | 17% | 0%

## Pipeline Capacity
Note that nominal capacities were used for APWoleebee, Comet Ridge, Condabri, FRCP, Gloucester, SGFV, SNP, Walloons and Windibri because the true capacities are unknown.
Reverse capacities for MAPS, MSP and RBP are not currently publically available
TJ/d
Forward Capacity
Year | APLNG | APLNGSpringGully | APWoleebee | BellevueQCLNG | BWP | CGP | CometRidge | Condabri | DaltonCan | EGPNorth | EGPSouth | GLNG | HoskinCan | ICNorth | ICSouth | JordanBellevue | KenyaKogan | KenyaRuby | LMPEast | LMPWest | MAPSNorth | MAPSSouth | MSPCentral | MSPEast | MSPWest | NQGP | QCWoleebeeBellevue | QGPEast | QGPSouth | RBPEast | RBPWest | RubyJordan | SEAGasEast | SEAGasWest | SGFairview | SNP | SWP | SWQPEast | SWQPWest | TGP | Walloons
2016 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2017 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2018 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2019 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2020 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2021 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2022 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2023 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2024 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2025 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2026 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2027 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2028 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2029 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2030 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2031 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2032 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2033 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2034 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
2035 | 1560 | 210 | 850 | 1530 | 150 | 119 | 200 | 820 | 56 | 358 | 358 | 1400 | 77 | 120 | 120 | 1530 | 300 | 300 | 1030 | 1030 | 241 | 241 | 439 | 439 | 439 | 110 | 1530 | 151 | 151 | 233 | 233 | 1530 | 314 | 314 | 155 | 700 | 429 | 384 | 384 | 130 | 120
Reverse Capacity
Year | APLNG | APLNGSpringGully | APWoleebee | BellevueQCLNG | BWP | CGP | CometRidge | Condabri | DaltonCan | EGPNorth | EGPSouth | GLNG | HoskinCan | ICNorth | ICSouth | JordanBellevue | KenyaKogan | KenyaRuby | LMPEast | LMPWest | MAPSNorth | MAPSSouth | MSPCentral | MSPEast | MSPWest | NQGP | QCWoleebeeBellevue | QGPEast | QGPSouth | RBPEast | RBPWest | RubyJordan | SEAGasEast | SEAGasWest | SGFairview | SNP | SWP | SWQPEast | SWQPWest | TGP | Walloons
2016 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2017 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2018 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2019 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2020 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2021 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2022 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2023 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2024 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2025 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 148 | 148 | 0 | 0 | 300 | 0 | 0 | 241 | 241 | 439 | 439 | 120 | 0 | 0 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 700 | 110.5 | 340 | 340 | 0 | 0

## Processing Utilisation
Year | AP Woleebee | Bass | Bellevue | Condabri | Fairview | Gippsland | Gooimbah | Gunnedah | Jordan | Kenya | Kogan | Moomba | Moranbah | Port Campbell | QC Woleebee | Ruby | Spring Gully | Stratford | Sydney | Wallumbilla
2016 | 72% | 100% | 100% | 95% | 80% | 52% | 18% | 0% | 100% | 85% | 81% | 86% | 53% | 26% | 100% | 40% | 80% | 0% | 91% | 0%
2017 | 100% | 100% | 100% | 99% | 100% | 49% | 18% | 0% | 100% | 92% | 84% | 89% | 60% | 36% | 100% | 46% | 89% | 0% | 91% | 0%
2018 | 100% | 100% | 100% | 100% | 100% | 57% | 18% | 0% | 100% | 91% | 85% | 95% | 72% | 21% | 100% | 46% | 89% | 0% | 91% | 0%
2019 | 100% | 100% | 100% | 100% | 100% | 57% | 18% | 0% | 100% | 91% | 87% | 99% | 73% | 23% | 100% | 46% | 89% | 0% | 91% | 0%
2020 | 100% | 100% | 100% | 100% | 100% | 65% | 52% | 0% | 100% | 92% | 88% | 100% | 79% | 24% | 100% | 72% | 100% | 0% | 91% | 34%
2021 | 100% | 100% | 100% | 100% | 100% | 66% | 84% | 0% | 100% | 92% | 90% | 100% | 89% | 22% | 100% | 76% | 89% | 0% | 91% | 86%
2022 | 100% | 100% | 100% | 100% | 100% | 67% | 84% | 0% | 100% | 92% | 91% | 100% | 97% | 24% | 100% | 76% | 89% | 0% | 91% | 100%
2023 | 100% | 100% | 100% | 100% | 100% | 69% | 84% | 0% | 100% | 92% | 90% | 100% | 100% | 25% | 100% | 76% | 89% | 0% | 91% | 100%
2024 | 100% | 100% | 100% | 100% | 100% | 71% | 85% | 0% | 100% | 92% | 90% | 100% | 100% | 27% | 100% | 76% | 89% | 0% | 0% | 100%
2025 | 100% | 100% | 100% | 100% | 100% | 74% | 84% | 0% | 100% | 92% | 91% | 100% | 100% | 28% | 100% | 77% | 89% | 0% | 0% | 100%
2026 | 100% | 100% | 100% | 100% | 100% | 75% | 84% | 0% | 100% | 100% | 100% | 100% | 100% | 29% | 100% | 100% | 89% | 0% | 18% | 100%
2027 | 100% | 100% | 100% | 100% | 100% | 77% | 84% | 0% | 100% | 100% | 100% | 100% | 100% | 29% | 100% | 100% | 89% | 0% | 0% | 100%
2028 | 100% | 100% | 100% | 100% | 100% | 78% | 85% | 0% | 100% | 100% | 100% | 100% | 100% | 30% | 100% | 100% | 89% | 0% | 0% | 100%
2029 | 100% | 100% | 100% | 100% | 100% | 78% | 84% | 0% | 100% | 100% | 100% | 100% | 100% | 31% | 100% | 100% | 89% | 0% | 0% | 100%
2030 | 100% | 100% | 100% | 100% | 100% | 80% | 18% | 0% | 100% | 100% | 100% | 100% | 100% | 32% | 100% | 100% | 89% | 0% | 0% | 0%
2031 | 100% | 100% | 100% | 100% | 100% | 81% | 18% | 0% | 100% | 100% | 100% | 100% | 100% | 32% | 100% | 100% | 89% | 0% | 0% | 0%
2032 | 100% | 100% | 100% | 100% | 100% | 82% | 18% | 0% | 100% | 100% | 100% | 100% | 100% | 33% | 100% | 100% | 89% | 0% | 0% | 0%
2033 | 100% | 100% | 100% | 100% | 100% | 82% | 18% | 0% | 100% | 100% | 100% | 100% | 100% | 35% | 100% | 100% | 89% | 0% | 0% | 0%
2034 | 100% | 100% | 100% | 100% | 100% | 84% | 18% | 0% | 100% | 100% | 100% | 100% | 100% | 36% | 100% | 100% | 89% | 0% | 0% | 0%
2035 | 100% | 100% | 100% | 100% | 100% | 84% | 18% | 0% | 100% | 100% | 100% | 100% | 100% | 36% | 100% | 100% | 89% | 0% | 0% | 0%

## Processing Capacity
TJ/day
Year | AP Woleebee | Bass | Bellevue | Condabri | Fairview | Gippsland | Gooimbah | Jordan | Kenya | Kogan | Moomba | Moranbah | Port Campbell | QC Woleebee | Ruby | Spring Gully | Sydney | Wallumbilla
2016 | 555 | 67 | 220 | 790 | 722 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2017 | 555 | 67 | 220 | 790 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2018 | 555 | 67 | 220 | 790 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2019 | 555 | 67 | 220 | 790 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2020 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 180 | 15 | 42
2021 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2022 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2023 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2024 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2025 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2026 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2027 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2028 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2029 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2030 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2031 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2032 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2033 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2034 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42
2035 | 555 | 67 | 220 | 840 | 862 | 1250 | 90 | 450 | 320 | 138 | 375 | 68 | 836 | 450 | 440 | 203 | 15 | 42

## Demand
PJ/annum
Year | Adelaide | AP LNG | Ballera | Bass | Brisbane | Canberra | Condabri | G LNG | Gippsland | Gladstone | Hallett | Hoskintown | Kogan | Melbourne | Moranbah | Mount Isa | Penola | Port Campbell | QC LNG | Sydney | Tasmania | Townsville | Train 7 | Wagga | Young
2016 | 71.129 | 388.6903 | 0.044737 | 15.578 | 36.933 | 8.598 | 28.0348 | 305.1785 | 0.63363 | 50.6754 | 13.995 | 19.4992 | 35.1806 | 160.3873 | 6.45 | 29.764 | 2.6732 | 42.0313 | 474.0337 | 96.4038 | 7.0816 | 6.7022 | 0 | 0.29547 | 12.098
2017 | 70.1042 | 517.7737 | 0.099268 | 15.681 | 36.877 | 8.674 | 18.121 | 389.2347 | 0.68179 | 50.776 | 14.1624 | 14.2941 | 23.2426 | 160.7563 | 6.443 | 29.052 | 2.7007 | 40.1166 | 482.5016 | 97.5708 | 7.2018 | 8.3883 | 0 | 0.30272 | 12.197
2018 | 60.737 | 517.7737 | 0.20058 | 14.18 | 36.972 | 8.682 | 9.4888 | 431.4858 | 0.7351 | 50.9002 | 14.3294 | 14.0148 | 20.1745 | 159.0105 | 6.444 | 29.368 | 2.7478 | 39.1677 | 482.5016 | 93.0566 | 7.205 | 11.8413 | 0 | 0.39356 | 12.236
2019 | 52.8358 | 517.7737 | 0.20736 | 14.241 | 37.081 | 8.65 | 9.5991 | 440.1743 | 0.71697 | 51.8356 | 14.2055 | 13.9084 | 20.3953 | 158.8005 | 6.455 | 29.61 | 2.5971 | 40.4009 | 482.5016 | 89.1804 | 7.293 | 11.9092 | 0 | 0.32806 | 12.226
2020 | 49.4914 | 564.85 | 0.29417 | 14.299 | 37.184 | 8.576 | 11.9187 | 479.0702 | 0.73432 | 52.1049 | 14.1696 | 13.8755 | 21.5604 | 158.6637 | 6.642 | 35.5219 | 2.5707 | 39.6773 | 526.1741 | 89.0604 | 7.375 | 13.5128 | 0 | 0.38466 | 12.185
2021 | 49.8709 | 569.66 | 0.59921 | 14.325 | 37.27 | 8.48 | 16.3201 | 481.446 | 0.8005 | 52.3716 | 14.1798 | 13.6078 | 25.6459 | 158.4061 | 6.823 | 35.424 | 2.588 | 40.5503 | 530.5956 | 89.1336 | 7.453 | 16.8178 | 0 | 0.51396 | 12.121
2022 | 54.0749 | 569.6895 | 0.8072 | 14.34 | 37.486 | 8.449 | 19.3626 | 481.446 | 0.91405 | 52.7125 | 14.2099 | 14.4868 | 29.9489 | 157.6853 | 7.011 | 32.911 | 2.6037 | 40.1188 | 530.5516 | 91.4604 | 7.526 | 24.4776 | 0 | 1.2003 | 12.121
2023 | 60.6109 | 569.7191 | 0.64527 | 14.376 | 37.799 | 8.493 | 19.937 | 481.095 | 1.4104 | 53.1086 | 14.3915 | 14.1049 | 30.1476 | 158.3695 | 7.046 | 33.176 | 2.6827 | 40.0142 | 530.5077 | 98.107 | 7.595 | 38.8248 | 0 | 2.9405 | 12.183
2024 | 64.6654 | 571.2734 | 0.45038 | 14.485 | 38.191 | 8.587 | 19.5633 | 482.3831 | 1.6344 | 53.5234 | 14.4485 | 14.0059 | 26.5232 | 159.6281 | 7.084 | 32.959 | 2.6863 | 40.7416 | 531.8835 | 101.4959 | 7.66 | 51.1996 | 0 | 3.1177 | 12.289
2025 | 69.7696 | 569.7782 | 0.50577 | 14.589 | 38.594 | 8.685 | 20.9591 | 480.3871 | 2.2164 | 53.9256 | 14.4281 | 14.0672 | 28.6509 | 161.1092 | 7.122 | 33.262 | 2.62 | 40.4721 | 530.5956 | 110.4874 | 7.721 | 56.4614 | 2.6178 | 3.0002 | 12.4
2026 | 71.2367 | 569.8078 | 0.58482 | 14.685 | 38.985 | 8.783 | 22.0815 | 478.2867 | 2.3936 | 54.3325 | 14.4358 | 14.6169 | 31.0249 | 161.6128 | 7.159 | 33.546 | 2.6601 | 40.6926 | 530.5516 | 119.9129 | 7.779 | 57.2477 | 204.9579 | 2.2504 | 12.511
2027 | 73.0609 | 569.8373 | 0.70336 | 14.781 | 39.392 | 8.878 | 22.7151 | 478.2867 | 2.6252 | 54.7716 | 14.4561 | 15.5573 | 33.8025 | 162.1604 | 7.199 | 33.856 | 2.6543 | 41.3804 | 530.5077 | 126.6918 | 7.833 | 58.0808 | 253.8125 | 2.0575 | 12.618
2028 | 74.8968 | 571.392 | 0.68065 | 14.875 | 39.803 | 8.968 | 22.2585 | 479.5672 | 3.6782 | 55.1814 | 14.3831 | 15.5628 | 33.6261 | 162.4361 | 7.24 | 34.163 | 2.5679 | 41.1941 | 531.8835 | 132.3538 | 7.883 | 61.3402 | 254.4918 | 1.9912 | 12.72
2029 | 77.9271 | 569.8965 | 0.71534 | 14.964 | 40.226 | 9.058 | 22.4482 | 478.2867 | 4.6499 | 55.6387 | 14.4085 | 15.3058 | 34.311 | 163.6344 | 7.282 | 34.465 | 2.5613 | 41.4942 | 533.2133 | 139.7655 | 7.929 | 65.0417 | 251.0189 | 2.3885 | 12.822
2030 | 81.2148 | 569.926 | 0.84536 | 15.061 | 40.665 | 9.155 | 23.5565 | 477.3169 | 6.6905 | 56.1275 | 14.4588 | 14.8607 | 38.2385 | 164.9223 | 7.327 | 34.782 | 2.5423 | 41.4022 | 533.1694 | 148.8699 | 7.973 | 67.0438 | 251.0189 | 2.5972 | 12.931
2031 | 81.8878 | 569.9556 | 0.9642 | 15.17 | 41.11 | 9.258 | 24.3395 | 474.4393 | 6.405 | 56.5882 | 14.4483 | 14.6695 | 41.6604 | 165.5203 | 7.373 | 35.102 | 2.5267 | 42.0398 | 533.1254 | 157.0617 | 8.02 | 68.029 | 251.0189 | 2.4439 | 13.044
2032 | 84.3775 | 571.5105 | 1.0983 | 15.288 | 41.569 | 9.37 | 25.5274 | 475.7093 | 7.1138 | 57.0876 | 14.5047 | 14.8571 | 46.4042 | 166.8375 | 7.422 | 35.437 | 2.5449 | 41.9119 | 534.4985 | 166.3082 | 8.066 | 69.4991 | 251.7005 | 2.509 | 13.165
2033 | 88.5549 | 570.0147 | 1.2693 | 15.405 | 42.043 | 9.486 | 26.9388 | 474.4393 | 8.3653 | 57.6163 | 14.5215 | 16.4324 | 52.8318 | 168.5777 | 7.472 | 35.784 | 2.5484 | 42.5961 | 533.0375 | 177.6951 | 8.111 | 70.9218 | 251.0189 | 3.0258 | 13.292
2034 | 93.1835 | 570.0443 | 1.3822 | 15.522 | 42.517 | 9.601 | 27.8518 | 474.4393 | 11.0515 | 58.1243 | 14.6258 | 16.6727 | 57.1947 | 172.3297 | 7.539 | 36.132 | 2.5879 | 42.3828 | 532.9935 | 190.333 | 8.155 | 71.6635 | 251.0189 | 3.8525 | 13.418
2035 | 91.4476 | 570.0738 | 1.4361 | 15.639 | 42.99 | 9.711 | 28.287 | 474.4393 | 9.7702 | 58.621 | 14.6793 | 15.3453 | 59.1646 | 172.5991 | 7.606 | 36.483 | 2.6043 | 42.4631 | 532.5435 | 200.7418 | 8.197 | 71.9292 | 251.0189 | 8.0346 | 13.536
Note: Demand at Wallumbilla has been aggregated with Demand at Kogan to protect confidentiality.