## Version
Document history
Draft Rev # | Date | Owner | Date | Reviewer | Note
0 | 2026-05-20 | Raghu Anirudhan
0.1 | 2026-05-25 | Huuson Nguyen
1 | 2027-05-27 | Huuson Nguyen |  |  | add inf about new PNJ 132kV yard
Volt ID# | 331325

## EOI Connection
Facility Short Name | Substation for proposed connection
ADERRTL_DSP_03 | Geraldton (GTN)
ADERRTL_DSP_04 | Geraldton (GTN)
ATWELL_ESR1 | Cockburn Cement (CC)
ATWELL_ESR2 | Bibra Lake (BIB)
AUSTRALIND_ESR1 | Picton (PIC)
BALCATTA_ESR1 | Arkana (A)
BALLAJURA_ESR1 | Malaga (MLG)
BAYSWATER_ESR1 | Morley (MO)
BIBRALAKE_ESR1 | Bibra Lake (BIB)
BINNINGUP_PV_ESR1 | Kemerton (KEM)
BOORAGOON_PV_ESR1 | O'Connor (OC)
BULLSBROOK_ESR1 | Muchea (MUC)
BUSSELTON_ESR1 | Busselton (BSN)
CANNINGVALE_ESR1 | Southern River (SNR)
CANNINGVALE_ESR2 | Willetton (WLN)
CARLISLE_ESR1 | Rivervale (RVE)
CARLISLE_ESR2 | Rivervale (RVE)
CATABY_G1 | Yandin Terminal (YDT)
CHANDALA_ESR1 | Kerr McGee Muchea (KMM)
COOGEE_ESR1 | Cockburn Cement (CC)
COOLJARLOO_ESR1 | Kerr McGee Cataby (KMC)
COTTESLOE_ESR1 | Cottesloe (CTE)
COURTENAY_PV_ESR1 | Beenup (BNP)
DANDARAGAN_WF_ESR1 | Moora (MOR)
DARLINGDOWNS_ESR1 | Byford (BYF)
DAWESVILLE_ESR1 | Mandurah (MH)
DENMARK_ESR1 | Albany (ALB)
DROME_ESR1 | Tee into line between Albany (ALB) and Kojonup (KOJ)
ELLENBROOK_ESR1 | Henley Brook (HBK)
ENEABBA_ESR1 | Eneabba (ENB)
EnelX_DSP_04 | Mason Road (MSR)
EnelX_DSP_08 | Picton (PIC)
EnelX_DSP_09 | Rockingham (ROH)
EnelX_DSP_10 | Willetton (WLN)
ENELX_DSP_R0003 | ALCOA Kwinana (AKW)
ENELX_DSP_R0004 | Mason Road (MSR)
ENELX_DSP_R0008 | Picton (PIC)
ENELX_DSP_R0009 | Rockingham (RO)
ENELX_DSP_R0011 | Albany (ALB)
ENELX_DSP_R0019 | Busselton (BSN)
ENELX_DSP_R0020 | Bridgetown (BTN)
ENELX_DSP_R0022 | Bunbury Harbour (BUH)
ENELX_DSP_R0024 | Capel (CAP)
ENELX_DSP_R0053 | Medina (MED)
ENELX_DSP_R0055 | Mandurah (MH)
ENELX_DSP_R0058 | Midland Junction (MJ)
ENELX_DSP_R0062 | Marriott Road (MRR)
ENELX_DSP_R0063 | Meadow Springs (MSS)
ENELX_DSP_R0075 | Pinjarra (PNJ)
ENELX_DSP_R0083 | Waikiki (WAI)
ENELX_DSP_R0104 | Kerr McGee Kwinana (KMK)
FALCON_ESR1 | Mandurah (MH)
GRASS_VALLEY_ESR1 | New Grass Valley substation which will be cut in/out of NOR-NCS/MRT 81
HALLSHEAD_ESR1 | Mandurah (MH)
KADATHINNI_PV_ESR1 | New substation between Three Springs Terminal (TST) and Eneabba Terminal (ENB)
KALGOORLIE_ESR1 | Piccadilly (PCY)
KARNUP_ESR1 | Waikiki (WAI)
KEMERTON_ESR1 | Kemerton (KEM)
KEMERTON_ESR2 | Kemerton (KEM)
KINROSS_ESR1 | Wanneroo (WNO)
KONDININ_WF1 | Kondinin (KDN)
KRASOLR1 | Three Springs Terminal (TST)
MARRIOTT_RD_ESR1 | Marriott Road (MRR)
MASON_RD_ESR1 | Tee into line between Mason Road (MSR) and Kwinana Power Partnership (KPP)
MEADOWSPRING_ESR1 | Meadow Springs (MSS)
MERREDIN_ESR2 | Merredin (MER)
MERSOLAR_PV1 | Merredin Terminal (MRT)
MOORA_WF_ESR1 | Moora (MOR)
MORLEY_ESR1 | Hadfields (H)
MTBARKER_PV_ESR1 | Mount Barker (MBR)
MULLEWA_POWER_STATION1 | Geraldton (GTN)
MYAREE_PV_ESR1 | O'Connor (OC)
N_ADERRTL_DSP_03 | Geraldton (GTN)
N_ENELX_DSP_02 | ALCOA Pinjarra (APJ)
NAPIER_RD_ESR1 | Pinjarra (PNJ)
NAPIER_RD_PV1 | Pinjarra (PNJ)
NARNGULU_ESR_G1 | Tee into line between Geraldton (GTN) and Rangeway (RAN)
NARROGIN_WF1 | New substation between Muja (MU) and Narrogin South (NGS)
NORTHAM_SF_PV1 | Northam (NOR)
OLD_YANCHEP_RD_PV_ESR1 | Wanneroo (WNO)
PALMER_ESR_PV1 | Palmer Terminal (PMT)
PALMYRA_ESR1 | Amherst (AMT)
PARMELIA_ESR1 | Medina (MED)
PARRON_WF1 | New substation between Eneabba Terminal (ENB) and Regans Terminal (RGT)
PARRON_WF2 | New substation between Eneabba Terminal (ENB) and Regans Terminal (RGT)
PERTHAIRPORT_ESR1 | Munday (MDY)
PICTON_ESR1 | Picton (PIC)
PORTKENNEDY_ESR1 | Waikiki (WAI)
PORTKENNEDY_ESR2 | Waikiki (WAI)
RAVENSWOOD_ESR1 | Pinjarra (PNJ)
REDGULLY_ESR1 | Regans Terminal (RGT)
SHADFORTH_PV_ESR1 | Albany (ALB)
SOMERS_WGP_ESR1 | Landwehr Terminal (LWT)
SOMERS_WGP_PV1 | Landwehr Terminal (LWT)
SOUTHERNCROSS_ESR1 | Southern Cross (SX)
STRATTON_ESR1 | Midland Junction (MJ)
TWOROCKS_ESR1 | Yanchep (YP)
WANNAROO_SOLAR_BESS_02 | Wanneroo (WNO)
WANNEROO_ESR1 | Wanneroo (WNO)
WELLESLEY_G1 | Tee into line between Marriott Road (MRR) and Kemerton (KEM)
WELLESLEY_G2 | Tee into line between Marriott Road (MRR) and Kemerton (KEM)
WINTHROP_ESR1 | O'Connor (OC)
WOMARDEN_PV_ESR_WF1 | Three Springs Terminal (TST)
YOKINE_ESR1 | Yokine (Y)

## NCESS Connection
NCESS Contract | Substation for proposed connection