## Authorisation
2026 RCM - Substations and TNI
Version # | Date | Summary of change
0 | 2026-06-11 | Original version
Authorisation
| Date | Title | Name
Approver | 2026-06-11 | Principal Planning Enginner | Huuson Nguyen
VOLT# | ID39-644322706-331798

## Sub TNI
Name | In Folder | Nom.L-L Volt. | Abbre name | Full name | TNI
WDI 8 |  | 132 | WDI | Waddi | WWDI
YMT 9 |  | 330 | YMT | Yerramullah Terminal | WYMT
MGT X |  | 220 | MGT | Minigin Terminal | WMGT
11 kV CG260-16 (Aggregated2) | CRY - Carey Road | 11 | CRY | Carey Road | WCRY
11kV SWBD - 9BBA01GH001 | OFE - Office Road Substation | 11 | OFE | Office Road | WOFE
3 PHASE 50Hz 11kV 3000A 30kA (1) | CRY - Carey Road | 11 | CRY | Carey Road | WCRY
3 PHASE 50Hz 11kV 3000A 30kA (2) | CRY - Carey Road | 11 | CRY | Carey Road | WCRY
33 kV Bus(1) | MRS - Merredin Solar Farm | 33 | MRS | Merredin Solar Farm | WMRS
33 kV Switchboard(1) | MRS - Merredin Solar Farm | 33 | MRS | Merredin Solar Farm | WMRS
33kV GT_EQ1-2 | BGA - Badgingarra | 33 | BGA | Badgingarra Windfarm - WP Connection | WBGA
33kV GT_EQ3 | BGA - Badgingarra | 33 | BGA | Badgingarra Windfarm - WP Connection | WBGA
A 5B1 | A - Arkana | 22 | A | Arkana | WARK
A 5B2 | A - Arkana | 22 | A | Arkana | WARK
A 5B3 | A - Arkana | 22 | A | Arkana | WARK
A 8 | A - Arkana | 132 | A | Arkana | WARK
ABD 5 | ABD - ALCOA Boddington | 22 | ABD | ALCOA Boddington | WABD
AC BGA_WTG_TX | BGA - Badgingarra | 0.69 | BGA | Badgingarra Windfarm - WP Connection | WBGA
AFM 8 | AFM - Australian Fused Materials | 132 | AFM | Australian Fused Materials | WAFM
AKW 2B1 | AKW - ALCOA Kwinana | 6.6 | AKW | ALCOA Kwinana | WAKW
AKW 5B1 | AKW - ALCOA Kwinana | 22 | AKW | ALCOA Kwinana | WAKW
AKW 8 | AKW - ALCOA Kwinana | 132 | AKW | ALCOA Kwinana | WAKW
ALB 5B1 | ALB - Albany | 22 | ALB | Albany | WALB
ALB 5B2 | ALB - Albany | 22 | ALB | Albany | WALB
ALB 5B3 | ALB - Albany | 22 | ALB | Albany | WALB
ALB 5B4 | ALB - Albany | 22 | ALB | Albany | WALB
ALB 8 | ALB - Albany | 132 | ALB | Albany | WALB
ALB CAP 52AB | ALB - Albany | 22 | ALB | Albany | WALB
ALB CAP51AB | ALB - Albany | 22 | ALB | Albany | WALB
ALK 800A1 | YP - Yanchep | 132 | YP | Yanchep | WYCP
AMT 5B1 | AMT - Amherst | 22 | AMT | Amherst | WAMT
AMT 5B2 | AMT - Amherst | 22 | AMT | Amherst | WAMT
AMT 5B3 | AMT - Amherst | 22 | AMT | Amherst | WAMT
AMT 8 | AMT - Amherst | 132 | AMT | Amherst | WAMT
APJ 13_8 | APJ - ALCOA Pinjarra | 13.8 | APJ | ALCOA Pinjarra | WAPJ
APJ 6B1 | APJ - ALCOA Pinjarra | 33 | APJ | ALCOA Pinjarra | WAPJ
APJ 6B2 | APJ - ALCOA Pinjarra | 33 | APJ | ALCOA Pinjarra | WAPJ
APJ 6LD | APJ - ALCOA Pinjarra | 33 | APJ | ALCOA Pinjarra | WAPJ
APJ 8 | APJ - ALCOA Pinjarra | 132 | APJ | ALCOA Pinjarra | WAPJ
APJ 9 | APJ - ALCOA Pinjarra | 330 | APJ | ALCOA Pinjarra | WAPJ
APJ G2 | APJ - ALCOA Pinjarra | 13.8 | APJ | ALCOA Pinjarra | WAPJ
APJ G2LD | APJ - ALCOA Pinjarra | 13.8 | APJ | ALCOA Pinjarra | WAPJ
APJ G3 | APJ - ALCOA Pinjarra | 13.8 | APJ | ALCOA Pinjarra | WAPJ
APJ G3LD | APJ - ALCOA Pinjarra | 13.8 | APJ | ALCOA Pinjarra | WAPJ
APJ G4 | APJ - ALCOA Pinjarra | 13.8 | APJ | ALCOA Pinjarra | WAPJ
APJ G5 | APJ - ALCOA Pinjarra | 13.8 | APJ | ALCOA Pinjarra | WAPJ
APJ G5LD | APJ - ALCOA Pinjarra | 13.8 | APJ | ALCOA Pinjarra | WAPJ
APJ GT1 | APJ - ALCOA Pinjarra | 14.5 | APJ | ALCOA Pinjarra | WAPJ
APJ GT2 | APJ - ALCOA Pinjarra | 14.5 | APJ | ALCOA Pinjarra | WAPJ
APJ_T1_5 | APJ - ALCOA Pinjarra | 11 | APJ | ALCOA Pinjarra | WAPJ
APJ_T2_5 | APJ - ALCOA Pinjarra | 11 | APJ | ALCOA Pinjarra | WAPJ
APM 5B1 | APM - Australian Paper Mills | 22 | APM | Australian Paper Mills | WAPM
APM 5B3 | APM - Australian Paper Mills | 22 | APM | Australian Paper Mills | WAPM
APM 7 | APM - Australian Paper Mills | 66 | APM | Australian Paper Mills | WAPM
AWF 0B1 | AWF - Albany Wind Farm | 0.4 | AWF | Albany Wind Farm | WAWF
AWF 0B2 | AWF - Albany Wind Farm | 0.4 | AWF | Albany Wind Farm | WAWF
AWF 0DC1 | AWF - Albany Wind Farm | 0.68 | AWF | Albany Wind Farm | WAWF
AWF 0DC2 | AWF - Albany Wind Farm | 0.68 | AWF | Albany Wind Farm | WAWF
AWF 5B1 | AWF - Albany Wind Farm | 22 | AWF | Albany Wind Farm | WAWF
AWF 5B2 | AWF - Albany Wind Farm | 22 | AWF | Albany Wind Farm | WAWF
AWG 5B1 | AWG - Alcoa Wagerup | 22 | AWG | Alcoa Wagerup | WAWG
AWG G1 | AWG - Alcoa Wagerup | 11 | AWG | Alcoa Wagerup | WAWG
AWG G2 | AWG - Alcoa Wagerup | 11 | AWG | Alcoa Wagerup | WAWG
AWG G3 | AWG - Alcoa Wagerup | 11 | AWG | Alcoa Wagerup | WAWG
AWG G4 | AWG - Alcoa Wagerup | 11 | AWG | Alcoa Wagerup | WAWG
Aux SB(1) | MRS - Merredin Solar Farm | 0.415 | MRS | Merredin Solar Farm | WMRS
BCH 5B1 | BCH - Beechboro | 22 | BCH | Beechboro | WBCH
BCH 5B2 | BCH - Beechboro | 22 | BCH | Beechboro | WBCH
BCH 5B3 | BCH - Beechboro | 22 | BCH | Beechboro | WBCH
BCH 8 | BCH - Beechboro | 132 | BCH | Beechboro | WBCH
BCT 5B1 | BCT - Balcatta | 22 | BCT | Balcatta | WBCT
BCT 5B2 | BCT - Balcatta | 22 | BCT | Balcatta | WBCT
BCT 5B3 | BCT - Balcatta | 22 | BCT | Balcatta | WBCT
BCT 8 | BCT - Balcatta | 132 | BCT | Balcatta | WBCT
BDE 3B1 | BDE - Bandee | 6.6 | BDE | Baandee | WBDE
BDE 7 | BDE - Bandee | 66 | BDE | Baandee | WBDE
BDP 8 | BDP - Binningup Desalination Plant | 132 | BDP | Binningup Desalination Plant | WBDP
BEC 5B1 | BEC - Beckenham | 22 | BEC | Beckenham | WBEC
BEC 8 | BEC - Beckenham | 132 | BEC | Beckenham | WBEC
BEL 5B1 | BEL - Belmont | 22 | BEL | Belmont | WBEL
BEL 5B2 | BEL - Belmont | 22 | BEL | Belmont | WBEL
BEL 5B3 | BEL - Belmont | 22 | BEL | Belmont | WBEL
BEL 8 | BEL - Belmont | 132 | BEL | Belmont | WBEL
BGA 8 | BGA - Badgingarra | 132 | BGA | Badgingarra Windfarm - WP Connection | WBGA
BGA_AUX_33 | BGA - Badgingarra | 33 | BGA | Badgingarra Windfarm - WP Connection | WBGA
BGA_AUX_LOAD | BGA - Badgingarra | 0.4 | BGA | Badgingarra Windfarm - WP Connection | WBGA
BGA_WTG_TX | BGA - Badgingarra | 33 | BGA | Badgingarra Windfarm - WP Connection | WBGA
BGM 8 | BGM - Boddington Gold Mine | 132 | BGM | Boddington Gold Mine | WBGM
BHK 7 | BHK - Broken Hill Kwinana | 66 | BHK | Broken Hill Kwinana | WBHK
BIB 5B1 | BIB - Bibra Lake | 22 | BIB | Bibra Lake | WBIB
BIB 5B3 | BIB - Bibra Lake | 22 | BIB | Bibra Lake | WBIB
BIB 8 | BIB - Bibra Lake | 132 | BIB | Bibra Lake | WBIB
BKF 6B1 | BKF - Black Flag | 33 | BKF | Black Flag | WBKF
BKF 6B2 | BKF - Black Flag | 33 | BKF | Black Flag | WBKF
BKF 6B3 | BKF - Black Flag | 33 | BKF | Black Flag | WBKF
BKF 8 | BKF - Black Flag | 132 | BKF | Black Flag | WBKF
BLD 6B1 | BLD - Boulder | 33 | BLD | Boulder | WBLD
BLD 6B2 | BLD - Boulder | 33 | BLD | Boulder | WBLD
BLD 6B3 | BLD - Boulder | 33 | BLD | Boulder | WBLD
BLD 8B1 | BLD - Boulder | 132 | BLD | Boulder | WBLD
BLD 8B2 | BLD - Boulder | 132 | BLD | Boulder | WBLD
BLV 8 | Bellevue - BLV | 132 | BLV | Bellevue | WBLV
BLW 900A1 | BLW - Bluewaters Terminal | 330 | BLW | Bluewaters Terminal | WBLW
BLW 900A2 | BLW - Bluewaters Terminal | 330 | BLW | Bluewaters Terminal | WBLW
BLW 900B1 | BLW - Bluewaters Terminal | 330 | BLW | Bluewaters Terminal | WBLW
BLW 900B2 | BLW - Bluewaters Terminal | 330 | BLW | Bluewaters Terminal | WBLW
BNL 800 | BNL -Bunning Lake | 132 | BNL | Bunning Lake zone substation | WBNL
BNP 5B1 | BNP - Beenup | 22 | BNP | Beenup | WBNP
BNP 5B3 | BNP - Beenup | 22 | BNP | Beenup | WBNP
BNP 8 | BNP - Beenup | 132 | BNP | Beenup | WBNP
BNY 6 | BNY - Bounty | 33 | BNY | Bounty | WBNY
BNY 8 | BNY - Bounty | 132 | BNY | Bounty | WBNY
BOD 5B4 | BOD - Boddington | 22 | BOD | Boddington | WBOD
BOD 5B5 | BOD - Boddington | 22 | BOD | Boddington | WBOD
BOD 8 | BOD - Boddington | 132 | BOD | Boddington | WBOD
BPR 8 | BPR - B.P. Refinery | 132 | BPR | British Petroleum Refinery | WBPR
BSI 8 | BSI - Barrack Silicon Smelter | 132 | BSI | Barrack Silicon Smelter | WBSI
BSN 500 | BSN - Busselton | 22 | BSN | Busselton | WBSN
BSN 507 | BSN - Busselton | 22 | BSN | Busselton | WBSN
BSN 513 | BSN - Busselton | 22 | BSN | Busselton | WBSN
BSN 538 | BSN - Busselton | 22 | BSN | Busselton | WBSN
BSN 551 | BSN - Busselton | 22 | BSN | Busselton | WBSN
BSN 5T4 | BSN - Busselton | 20.6 | BSN | Busselton | WBSN
BSN 701 | BSN - Busselton | 66 | BSN | Busselton | WBSN
BSN 702-713 | BSN - Busselton | 66 | BSN | Busselton | WBSN
BSN 704 | BSN - Busselton | 66 | BSN | Busselton | WBSN
BSN 706 | BSN - Busselton | 66 | BSN | Busselton | WBSN
BSN 709 | BSN - Busselton | 66 | BSN | Busselton | WBSN
BSN 711 | BSN - Busselton | 66 | BSN | Busselton | WBSN
BSN 713 | BSN - Busselton | 66 | BSN | Busselton | WBSN
BSN 715 | BSN - Busselton | 66 | BSN | Busselton | WBSN
BSN 800 | BSN - Busselton | 132 | BSN | Busselton | WBSN
BTN 5B1 | BTN - Bridgetown | 22 | BTN | Bridgetown | WBTN
BTN 5B2 | BTN - Bridgetown | 22 | BTN | Bridgetown | WBTN
BTN 8 | BTN - Bridgetown | 132 | BTN | Bridgetown | WBTN
BTY 5B1 | BTY - Bentley | 22 | BTY | Bentley | WBTY
BTY 5B2 | BTY - Bentley | 22 | BTY | Bentley | WBTY
BTY 5B3 | BTY - Bentley | 22 | BTY | Bentley | WBTY
BTY 8 | BTY - Bentley | 132 | BTY | Bentley | WBTY
BUH 5B1 | BUH - Bunbury Harbour | 22 | BUH | Bunbury Harbour | WBUH
BUH 5B2 | BUH - Bunbury Harbour | 22 | BUH | Bunbury Harbour | WBUH
BUH 5B3 | BUH - Bunbury Harbour | 22 | BUH | Bunbury Harbour | WBUH
BUH 8 | BUH - Bunbury Harbour | 132 | BUH | Bunbury Harbour | WBUH
BWF 6 | BGA - Badgingarra | 33 | BGA | Badgingarra Windfarm - WP Connection | WBGA
BWF 8 | BGA - Badgingarra | 132 | BGA | Badgingarra Windfarm - WP Connection | WBGA
BWP 5B1 | BWP - Bluewaters Power Station | 19 | BWP | Bluewaters Power Station | WBWP
BWP 5B2 | BWP - Bluewaters Power Station | 19 | BWP | Bluewaters Power Station | WBWP
BWP 9B1 | BWP - Bluewaters Power Station | 330 | BWP | Bluewaters Power Station | WBWP
BWP 9B2 | BWP - Bluewaters Power Station | 330 | BWP | Bluewaters Power Station | WBWP
BYF 5B1 | BYF - Byford | 22 | BYF | Byford | WBYF
BYF 5B2 | BYF - Byford | 22 | BYF | Byford | WBYF
BYF 5B3 | BYF - Byford | 22 | BYF | Byford | WBYF
BYF 8 | BYF - Byford | 132 | BYF | Byford | WBYF
CAP 5B1 | CAP - Capel | 22 | CAP | Capel | WCAP
CAP 5B2 | CAP - Capel | 22 | CAP | Capel | WCAP
CAP 5B3 | CAP - Capel | 22 | CAP | Capel | WCAP
CAP 7 | CAP - Capel | 66 | CAP | Capel | WCAP
CAP 7A | CAP - Capel | 66 | CAP | Capel | WCAP
CAR 5B1 | CAR - Carrabin | 22 | CAR | Carrabin | WCAR
CAR 5B2 | CAR - Carrabin | 22 | CAR | Carrabin | WCAR
CAR 7 | CAR - Carrabin | 66 | CAR | Carrabin | WCAR
CBB 900A | CBB - Colllie BESS | 330 | CBB | Collie BESS | WCBB
CBB 900B | CBB - Colllie BESS | 330 | CBB | Collie BESS | WCBB
CBB BESS1A LV Terminal | CBB - Colllie BESS | 0.66 | CBB | Collie BESS | WCBB
CBB BESS1A LV Terminal2 | CBB - Colllie BESS | 0.66 | CBB | Collie BESS | WCBB
CBB BESS1A LV_Aux1 | CBB - Colllie BESS | 0.415 | CBB | Collie BESS | WCBB
CBB BESS1A LV_Aux2 | CBB - Colllie BESS | 0.415 | CBB | Collie BESS | WCBB
CBB BESS1A MV Terminal 1 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1A MV Terminal 2 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1A MV Terminal 3 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1A MV Terminal 4 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1A MV Terminal 5 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1A MV Terminal 6 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1B LV Terminal | CBB - Colllie BESS | 0.66 | CBB | Collie BESS | WCBB
CBB BESS1B LV Terminal2 | CBB - Colllie BESS | 0.66 | CBB | Collie BESS | WCBB
CBB BESS1B LV_Aux1 | CBB - Colllie BESS | 0.415 | CBB | Collie BESS | WCBB
CBB BESS1B LV_Aux2 | CBB - Colllie BESS | 0.415 | CBB | Collie BESS | WCBB
CBB BESS1B MV Terminal 1 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1B MV Terminal 2 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1B MV Terminal 3 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1B MV Terminal 4 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1B MV Terminal 5 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS1B MV Terminal 6 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2A LV Terminal | CBB - Colllie BESS | 0.66 | CBB | Collie BESS | WCBB
CBB BESS2A LV Terminal2 | CBB - Colllie BESS | 0.66 | CBB | Collie BESS | WCBB
CBB BESS2A LV_Aux1 | CBB - Colllie BESS | 0.415 | CBB | Collie BESS | WCBB
CBB BESS2A LV_Aux2 | CBB - Colllie BESS | 0.415 | CBB | Collie BESS | WCBB
CBB BESS2A MV Terminal 1 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2A MV Terminal 2 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2A MV Terminal 3 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2A MV Terminal 4 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2A MV Terminal 5 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2A MV Terminal 6 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2B LV Terminal | CBB - Colllie BESS | 0.66 | CBB | Collie BESS | WCBB
CBB BESS2B LV Terminal2 | CBB - Colllie BESS | 0.66 | CBB | Collie BESS | WCBB
CBB BESS2B LV_Aux1 | CBB - Colllie BESS | 0.415 | CBB | Collie BESS | WCBB
CBB BESS2B LV_Aux2 | CBB - Colllie BESS | 0.415 | CBB | Collie BESS | WCBB
CBB BESS2B MV Terminal 1 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2B MV Terminal 2 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2B MV Terminal 3 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2B MV Terminal 4 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2B MV Terminal 5 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBB BESS2B MV Terminal 6 | CBB - Colllie BESS | 33 | CBB | Collie BESS | WCBB
CBP 8 | CBP - CSBP | 132 | CBP | CSBP | WCBP
CC 5B1 | CC - Cockburn Cement | 22 | CC | Cockburn Cement | WCCT
CC 5B2 | CC - Cockburn Cement | 22 | CC | Cockburn Cement | WCCT
CC 5B3 | CC - Cockburn Cement | 22 | CC | Cockburn Cement | WCCT
CC 8 | CC - Cockburn Cement | 132 | CC | Cockburn Cement | WCCT
CCL 8 | CCL - Cockburn Cement Ltd | 132 | CCL | Cockburn Cement Ltd | WCCL
CGT X00A1 | CGT - Collgar Terminal | 220 | CGT | Collgar Terminal | WCGT
CGT X00A2 | CGT - Collgar Terminal | 220 | CGT | Collgar Terminal | WCGT
CGT X00B1 | CGT - Collgar Terminal | 220 | CGT | Collgar Terminal | WCGT
CGT X00B2 | CGT - Collgar Terminal | 220 | CGT | Collgar Terminal | WCGT
CGW 0B1 | CGW - Collgar Wind Farm | 0.48 | CGW | Collgar Wind Farm | WCGW
CGW 0B11 | CGW - Collgar Wind Farm | 0.69 | CGW | Collgar Wind Farm | WCGW
CGW 0B2 | CGW - Collgar Wind Farm | 0.48 | CGW | Collgar Wind Farm | WCGW
CGW 0B21 | CGW - Collgar Wind Farm | 0.69 | CGW | Collgar Wind Farm | WCGW
CGW 6B1 | CGW - Collgar Wind Farm | 33 | CGW | Collgar Wind Farm | WCGW
CGW 6B11 | CGW - Collgar Wind Farm | 33 | CGW | Collgar Wind Farm | WCGW
CGW 6B12 | CGW - Collgar Wind Farm | 33 | CGW | Collgar Wind Farm | WCGW
CGW 6B121 | CGW - Collgar Wind Farm | 33 | CGW | Collgar Wind Farm | WCGW
CGW 6B2 | CGW - Collgar Wind Farm | 33 | CGW | Collgar Wind Farm | WCGW
CGW 6B21 | CGW - Collgar Wind Farm | 33 | CGW | Collgar Wind Farm | WCGW
CGW 6B22 | CGW - Collgar Wind Farm | 33 | CGW | Collgar Wind Farm | WCGW
CGW 6B221 | CGW - Collgar Wind Farm | 33 | CGW | Collgar Wind Farm | WCGW
CK 3A3 | CK - Cook Street | 11 | CK | Cook Street | WCKT
CK 3B1.A | CK - Cook Street | 11 | CK | Cook Street | WCKT
CK 3B1.D | CK - Cook Street | 11 | CK | Cook Street | WCKT
CK 3B3 | CK - Cook Street | 11 | CK | Cook Street | WCKT
CK 3B3.P | CK - Cook Street | 11 | CK | Cook Street | WCKT
CK 3B3.S | CK - Cook Street | 11 | CK | Cook Street | WCKT
CK 8 | CK - Cook Street | 132 | CK | Cook Street | WCKT
CK 801-A1 | CK - Cook Street | 132 | CK | Cook Street | WCKT
CK 802-A2 | CK - Cook Street | 132 | CK | Cook Street | WCKT
CKB 8B1 | CKB - Cockburn Power | 132 | CKB | Cockburn Power Station Terminal | WCKB
CKB 8B2 | CKB - Cockburn Power | 132 | CKB | Cockburn Power Station Terminal | WCKB
CKB GT1 | CKB - Cockburn Power | 15.7 | CKB | Cockburn Power Station Terminal | WCKB
CKB SG1 | CKB - Cockburn Power | 11.5 | CKB | Cockburn Power Station Terminal | WCKB
CKN 500A1 | CKN - Clarkson | 22 | CKN | Clarkson | WCKN
CKN 500A2 | CKN - Clarkson | 22 | CKN | Clarkson | WCKN
CKN 500A3 | CKN - Clarkson | 22 | CKN | Clarkson | WCKN
CKN 500A4 | CKN - Clarkson | 22 | CKN | Clarkson | WCKN
CKN 500A5 | CKN - Clarkson | 22 | CKN | Clarkson | WCKN
CKN 8 | CKN - Clarkson | 132 | CKN | Clarkson | WCKN
CL 3B1 | CL - Clarence St | 11 | CL | Clarence Street | WCLN
CL 3B2 | CL - Clarence St | 11 | CL | Clarence Street | WCLN
CL 7 | CL - Clarence St | 66 | CL | Clarence Street | WCLN
CO 5B1 | CO - Collie | 22 | CO | Collie | WCOE
CO 5B2 | CO - Collie | 22 | CO | Collie | WCOE
CO 5B3 | CO - Collie | 22 | CO | Collie | WCOE
CO 7 | CO - Collie | 66 | CO | Collie | WCOE
COL 3B1 | COL - Collier | 11 | COL | Collier | WCOL
COL 3B2 | COL - Collier | 11 | COL | Collier | WCOL
COL 3B3 | COL - Collier | 11 | COL | Collier | WCOL
COL 7 | COL - Collier | 66 | COL | Collier | WCOL
CPN 3B2 | CPN - Chapman | 11 | CPN | Chapman | WCPN
CPN 3B3 | CPN - Chapman | 11 | CPN | Chapman | WCPN
CPN 3B4 | CPN - Chapman | 11 | CPN | Chapman | WCPN
CPN 6B1 | CPN - Chapman | 33 | CPN | Chapman | WCPN
CPN 8 | CPN - Chapman | 132 | CPN | Chapman | WCPN
CRY 8 | CRY - Carey Road | 132 | CRY | Carey Road | WCRY
CSF 6 MVPS | CNS - Cunderdin Solar | 33 | CNS | Cunderdin Solar | WCSF
CSF 6 SWRM | CNS - Cunderdin Solar | 33 | CNS | Cunderdin Solar | WCSF
CSF 8 | CNS - Cunderdin Solar | 132 | CNS | Cunderdin Solar | WCSF
CSF LV a | CNS - Cunderdin Solar | 0.6 | CNS | Cunderdin Solar | WCSF
CSF LV b | CNS - Cunderdin Solar | 0.6 | CNS | Cunderdin Solar | WCSF
CT 0T1 | CT - Cannington Terminal | 21 | CT | Cannington Terminal | WCTT
CT 0T3 | CT - Cannington Terminal | 21 | CT | Cannington Terminal | WCTT
CT 700A1 | CT - Cannington Terminal | 66 | CT | Cannington Terminal | WCTT
CT 700A2 | CT - Cannington Terminal | 66 | CT | Cannington Terminal | WCTT
CT 700A3 | CT - Cannington Terminal | 66 | CT | Cannington Terminal | WCTT
CT 700B | CT - Cannington Terminal | 66 | CT | Cannington Terminal | WCTT
CT 800A1 | CT - Cannington Terminal | 132 | CT | Cannington Terminal | WCTT
CT 800A2 | CT - Cannington Terminal | 132 | CT | Cannington Terminal | WCTT
CT 800B1 | CT - Cannington Terminal | 132 | CT | Cannington Terminal | WCTT
CT 800B2 | CT - Cannington Terminal | 132 | CT | Cannington Terminal | WCTT
CTB 8 | CTB - Cataby | 132 | CTB | Cataby | WCTB
CTE 3B1 | CTE - Cottesloe 132kV | 11 | CTE | Cottesloe | WCTE
CTE 3B2 | CTE - Cottesloe 132kV | 11 | CTE | Cottesloe | WCTE
CTE 3B3 | CTE - Cottesloe 132kV | 11 | CTE | Cottesloe | WCTE
CTE 8 | CTE - Cottesloe 132kV | 132 | CTE | Cottesloe | WCTE
CUN 5B1 | CUN - Cunderdin | 22 | CUN | Cunderdin | WCUN
CUN 5B2 | CUN - Cunderdin | 22 | CUN | Cunderdin | WCUN
CUN 7 | CUN - Cunderdin | 66 | CUN | Cunderdin | WCUN
CVE 5B0 | CVE - Canning Vale | 22 | CVE | Canning Vale | WCVE
CVE 5B1 | CVE - Canning Vale | 22 | CVE | Canning Vale | WCVE
CVE 5B2 | CVE - Canning Vale | 22 | CVE | Canning Vale | WCVE
CVE 5B3 | CVE - Canning Vale | 22 | CVE | Canning Vale | WCVE
CVE 8 | CVE - Canning Vale | 132 | CVE | Canning Vale | WCVE
CWF XA1 | CGW - Collgar Wind Farm | 220 | CGW | Collgar Wind Farm | WCGW
Customer 132kV 1250A 40kA | CRY - Carey Road | 132 | CRY | Carey Road | WCRY
D 5B1 | D - Darlington | 22 | D | Darlington | WDTN
D 5B2 | D - Darlington | 22 | D | Darlington | WDTN
D 5B3 | D - Darlington | 22 | D | Darlington | WDTN
D 8 | D - Darlington | 132 | D | Darlington | WDTN
E 3B1 | E - Edmund Street | 11 | E | Edmund Street | WEDD
E 3B3 | E - Edmund Street | 11 | E | Edmund Street | WEDD
E 7 | E - Edmund Street | 66 | E | Edmund Street | WEDD
EDG 8 | EDG - Edgewater | 132 | EDG | Edgewater | WEDG
EGM 5B1 | CAR - Carrabin | 22 | CAR | Carrabin | WCAR
EMDA 8B11 | EMD - Emu Downs | 132 | EMD | Emu Downs | WEMD
EMDA-01 | EMD - Emu Downs | 132 | EMD | Emu Downs | WEMD
EMDA-11 | EMD - Emu Downs | 22 | EMD | Emu Downs | WEMD
EMDB 8B21 | EMD - Emu Downs | 132 | EMD | Emu Downs | WEMD
EMDB-01 | EMD - Emu Downs | 132 | EMD | Emu Downs | WEMD
EMDB-11 | EMD - Emu Downs | 22 | EMD | Emu Downs | WEMD
ENB 6B1 | ENB - Eneabba | 33 | ENB | Eneabba | WENB
ENB 6B3 | ENB - Eneabba | 33 | ENB | Eneabba | WENB
ENB 8 | ENB - Eneabba | 132 | ENB | Eneabba | WENB
ENT 500A | ENT - Eneabba Terminal | 22 | ENT | Eneabba Terminal | WENT
ENT 800A | ENT - Eneabba Terminal | 132 | ENT | Eneabba Terminal | WENT
ENT 800B | ENT - Eneabba Terminal | 132 | ENT | Eneabba Terminal | WENT
ENT 900A | ENT - Eneabba Terminal | 330 | ENT | Eneabba Terminal | WENT
ENT 900B | ENT - Eneabba Terminal | 330 | ENT | Eneabba Terminal | WENT
ENT 944a | ENT - Eneabba Terminal | 330 | ENT | Eneabba Terminal | WENT
EP 800A | EP - East Perth | 132 | EP | East Perth | WEPT
EP 800B | EP - East Perth | 132 | EP | East Perth | WEPT
ERW 8 | OFE - Office Road Substation | 132 | OFE | Office Road | WOFE
Eq-22kV-GRSF1-Term | Stage 2 | 22 | GRS | Greenough River Solar | WGRS
Eq-22kV-GRSF2-Term | Stage 2 | 22 | GRS | Greenough River Solar | WGRS
Eq-GRS 5B1 | Stage 2 | 22 | GRS | Greenough River Solar | WGRS
Eq-GRS 5B2 | Stage 2 | 22 | GRS | Greenough River Solar | WGRS
Eq-GRSF1 Terminal | Stage 2 | 0.324 | GRS | Greenough River Solar | WGRS
Eq-GRSF2-Terminal 1 | Stage 2 | 0.55 | GRS | Greenough River Solar | WGRS
Eq-GRSF2-Terminal 2 | Stage 2 | 0.55 | GRS | Greenough River Solar | WGRS
Eq-LV bus-feeder- GRSF1 | Stage 2 | 0.324 | GRS | Greenough River Solar | WGRS
FFD 5B1 | FFD - Forrestfield | 22 | FFD | Forrestfield | WFFD
FFD 5B2 | FFD - Forrestfield | 22 | FFD | Forrestfield | WFFD
FFD 5B3 | FFD - Forrestfield | 22 | FFD | Forrestfield | WFFD
FFD 8 | FFD - Forrestfield | 132 | FFD | Forrestfield | WFFD
FIM 6B1 | FIM - Fimiston | 33 | FIM | Fimiston | WFIM
FIM 6B2 | FIM - Fimiston | 33 | FIM | Fimiston | WFIM
FRW 6 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW 800A | FRW - Flat Rocks Wind Farm | 132 | FRW | Flat Rocks Wind Farm | WFRW
FRW 800B | FRW - Flat Rocks Wind Farm | 132 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_MSU_1 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_MSU_2 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_MSU_3 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_MSU_4 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_MSU_5 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_MSU_6 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_MSU_7 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_MSU_8 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_MSU_9 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW BUS_RPC | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW WTG 01LV | FRW - Flat Rocks Wind Farm | 0.72 | FRW | Flat Rocks Wind Farm | WFRW
FRW WTG 02LV | FRW - Flat Rocks Wind Farm | 0.72 | FRW | Flat Rocks Wind Farm | WFRW
FRW WTG 03LV | FRW - Flat Rocks Wind Farm | 0.72 | FRW | Flat Rocks Wind Farm | WFRW
FRW WTG HV 01 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW WTG HV 01_2 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW WTG HV 02 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW WTG HV 02_2 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW WTG HV 03 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
FRW WTG HV 03_2 | FRW - Flat Rocks Wind Farm | 33 | FRW | Flat Rocks Wind Farm | WFRW
G 5B1 | G - Gosnells | 22 | G | Gosnells | WGNL
G 5B2 | G - Gosnells | 22 | G | Gosnells | WGNL
G 5B3 | G - Gosnells | 22 | G | Gosnells | WGNL
G 8 | G - Gosnells | 132 | G | Gosnells | WGNL
GEN_BUS | LTH - Leath Road_Kwinana Waste Energy | 11 | LTH | Leath Road | WLTH
GGV 8 | GGV - Golden Grove | 132 | GGV | Golden Grove | WGGV
GGV LD | GGV - Golden Grove | 11 | GGV | Golden Grove | WGGV
GGV_T1_5 | GGV - Golden Grove | 11 | GGV | Golden Grove | WGGV
GGV_T2_5 | GGV - Golden Grove | 11 | GGV | Golden Grove | WGGV
GLT 0T1 | GLT - Guildford Terminal | 22 | GLT | Guildford Terminal | WGLT
GLT 800A2 | GLT - Guildford Terminal | 132 | GLT | Guildford Terminal | WGLT
GLT 800B2 | GLT - Guildford Terminal | 132 | GLT | Guildford Terminal | WGLT
GLT 900A | GLT - Guildford Terminal | 330 | GLT | Guildford Terminal | WGLT
GLT 900B | GLT - Guildford Terminal | 330 | GLT | Guildford Terminal | WGLT
GNI 8 | GNI - Glen Iris | 132 | GNI | Glen Iris | WGNI
GNN 3B1 | GNN - Newgen Neerabup | 15.75 | GNN | Generation Newgen Neerabup | WGNN
GNN 3B2 | GNN - Newgen Neerabup | 15.75 | GNN | Generation Newgen Neerabup | WGNN
GNN 9 | GNN - Newgen Neerabup | 330 | GNN | Generation Newgen Neerabup | WGNN
GRSF 8B1 | GRS - Greenough River Solar Farm | 132 | GRS | Greenough River Solar | WGRS
GTN 0T2 | GTN - Geraldton | 3.3 | GTN | Geraldton | WGTN
GTN 0T3 | GTN - Geraldton | 3.3 | GTN | Geraldton | WGTN
GTN 6B1 | GTN - Geraldton | 33 | GTN | Geraldton | WGTN
GTN 6B2 | GTN - Geraldton | 33 | GTN | Geraldton | WGTN
GTN 6B3 | GTN - Geraldton | 33 | GTN | Geraldton | WGTN
GTN 8 | GTN - Geraldton | 132 | GTN | Geraldton | WGTN
GTN LD | GTN - Geraldton | 33 | GTN | Geraldton | WGTN
GWF 0B1 | GWF - Grasmere | 0.4 | GMW | Grasmere windfarm | WGMW
GWF 5B1 | GWF - Grasmere | 22 | GMW | Grasmere windfarm | WGMW
H 5B1 | H - Hadfields | 22 | H | Hadfields | WHFS
H 5B2 | H - Hadfields | 22 | H | Hadfields | WHFS
H 5B3 | H - Hadfields | 22 | H | Hadfields | WHFS
H 8 | H - Hadfields | 132 | H | Hadfields | WHFS
HAY 3B1.A | HAY - Hay Street | 11 | HAY | Hay Street | WHAY
HAY 3B1.D | HAY - Hay Street | 11 | HAY | Hay Street | WHAY
HAY 3B2.E | HAY - Hay Street | 11 | HAY | Hay Street | WHAY
HAY 3B2.H | HAY - Hay Street | 11 | HAY | Hay Street | WHAY
HAY 3B3.P | HAY - Hay Street | 11 | HAY | Hay Street | WHAY
HAY 3B3.S | HAY - Hay Street | 11 | HAY | Hay Street | WHAY
HAY 8 | HAY - Hay Street | 132 | HAY | Hay Street | WHAY
HBK 500A1 | HBK - Henley Brook | 22 | HBK | Henley Brook | WHBK
HBK 500A2 | HBK - Henley Brook | 22 | HBK | Henley Brook | WHBK
HBK 500A3 | HBK - Henley Brook | 22 | HBK | Henley Brook | WHBK
HBK 500A4 | HBK - Henley Brook | 22 | HBK | Henley Brook | WHBK
HBK 500A5 | HBK - Henley Brook | 22 | HBK | Henley Brook | WHBK
HBK 8 | HBK - Henley Brook | 132 | HBK | Henley Brook | WHBK
HST 8 | BTN - Bridgetown | 132 | BTN | Bridgetown | WBTN
HV Customer | WKT - West Kalgoorlie Terminal | 33 | WKT | West Kalgoorlie Terminal | WWKT
HV EQ TX | ZBR - Beros Road Wind Farm | 33 | ZBR | Eneabba | WENB
HV EQ TX COLLECTOR | ZBR - Beros Road Wind Farm | 33 | ZBR | Eneabba | WENB
HZM 5B1 | HZM - Hazelmere | 22 | HZM | Hazelmere | WHZM
HZM 5B2 | HZM - Hazelmere | 22 | HZM | Hazelmere | WHZM
HZM 5B3 | HZM - Hazelmere | 22 | HZM | Hazelmere | WHZM
HZM 8 | HZM - Hazelmere | 132 | HZM | Hazelmere | WHZM
Iluka Cataby 600A | CTB - Cataby | 33 | CTB | Cataby | WCTB
Inverter Terminal_A | EMD - Emu Downs | 0.55 | EMD | Emu Downs | WEMD
Inverter Terminal_B | EMD - Emu Downs | 0.55 | EMD | Emu Downs | WEMD
2008-01-01 | JAN - Jan | 132 | JAN | Jan | WJAN
JDP 5B1 | JDP - Joondalup | 22 | JDP | Joondalup | WJDP
JDP 5B2 | JDP - Joondalup | 22 | JDP | Joondalup | WJDP
JDP 5B3 | JDP - Joondalup | 22 | JDP | Joondalup | WJDP
JDP 8 | JDP - Joondalup | 132 | JDP | Joondalup | WJDP
JTE 3B2A | JTE - Joel Terrace 132kV | 11 | JTE | Joel Terrace | WJTE
JTE 3B2B | JTE - Joel Terrace 132kV | 11 | JTE | Joel Terrace | WJTE
JTE 3B3A | JTE - Joel Terrace 132kV | 11 | JTE | Joel Terrace | WJTE
JTE 3B3B | JTE - Joel Terrace 132kV | 11 | JTE | Joel Terrace | WJTE
JTE 8 | JTE - Joel Terrace 132kV | 132 | JTE | Joel Terrace | WJTE
JTE 8B | JTE - Joel Terrace 132kV | 132 | JTE | Joel Terrace | WJTE
K 5B1 | K - Kalamunda | 22 | K | Kalamunda | WKDA
K 5B2 | K - Kalamunda | 22 | K | Kalamunda | WKDA
K 5B3 | K - Kalamunda | 22 | K | Kalamunda | WKDA
K 8 | K - Kalamunda | 132 | K | Kalamunda | WKDA
KAT 5B1 | KAT - Katanning | 22 | KAT | Katanning | WKAT
KAT 5B2 | KAT - Katanning | 22 | KAT | Katanning | WKAT
KAT 5B3 | KAT - Katanning | 22 | KAT | Katanning | WKAT
KAT 5B4 | KAT - Katanning | 22 | KAT | Katanning | WKAT
KAT 7 | KAT - Katanning | 66 | KAT | Katanning | WKAT
KBA 3B1 | WMK - Western Mining Kambalda | 11 | WMK | Western Mining Kambalda | WWMK
KBP 8 | MRN - Mason Road North | 132 | MRN | Mason Road North | WMRN
KDL 5B1 | KDL - Kewdale | 22 | KDL | Kewdale | WKDL
KDL 5B2 | KDL - Kewdale | 22 | KDL | Kewdale | WKDL
KDL 5B3 | KDL - Kewdale | 22 | KDL | Kewdale | WKDL
KDL 8 | KDL - Kewdale | 132 | KDL | Kewdale | WKDL
KDN 6B1 | KDN - Kondinin | 33 | KDN | Kondinin | WKDN
KDN 6B2 | KDN - Kondinin | 33 | KDN | Kondinin | WKDN
KDN 8 | KDN - Kondinin | 132 | KDN | Kondinin | WKDN
KDN T3 Aux | KDN - Kondinin | 29.5 | KDN | Kondinin | WKDN
KDN X00A | KDN - Kondinin | 220 | KDN | Kondinin | WKDN
KDN X00B | KDN - Kondinin | 220 | KDN | Kondinin | WKDN
KDP 5B1 | KDP - Kwinana Desalination Plant | 22 | KDP | Kwinana Desalination Plant | WKDP
KDP 5B2 | KDP - Kwinana Desalination Plant | 22 | KDP | Kwinana Desalination Plant | WKDP
KDP 8 | KDP - Kwinana Desalination Plant | 132 | KDP | Kwinana Desalination Plant | WKDP
KDV480 | KRA - Karara Mine | 0.48 | KRA | Karara | WKRA
KDVAR 33kV | KRA - Karara Mine | 33 | KRA | Karara | WKRA
KEL 5B1 | KEL - Kellerberrin | 22 | KEL | Kellerberrin | WKEL
KEL 5B3 | KEL - Kellerberrin | 22 | KEL | Kellerberrin | WKEL
KEL 7 | KEL - Kellerberrin | 66 | KEL | Kellerberrin | WKEL
KEL_T1_2 | KEL - Kellerberrin | 6.6 | KEL | Kellerberrin | WKEL
KEL_T3_2 | KEL - Kellerberrin | 6.6 | KEL | Kellerberrin | WKEL
KEM 5B2 | KEM - Kemerton | 22 | KEM | Kemerton | WKEM
KEM 5B2(3) | KEM - Kemerton | 22 | KEM | Kemerton | WKEM
KEM 800A | KEM - Kemerton | 132 | KEM | Kemerton | WKEM
KEM 800B | KEM - Kemerton | 132 | KEM | Kemerton | WKEM
KEM 900A | KEM - Kemerton | 330 | KEM | Kemerton | WKEM
KEM 900B | KEM - Kemerton | 330 | KEM | Kemerton | WKEM
KEM 9TX1 | KEM - Kemerton | 22 | KEM | Kemerton | WKEM
KEM QBIB | KEM - Kemerton | 132 | KEM | Kemerton | WKEM
KMC 8 | KMC - Kerr McGee Cataby | 132 | KMC | Kerr McGee Cataby | WKMC
KMK 8 | KMK - Kerr McGee Kwinana | 132 | KMK | Kerr McGee Kwinana | WKMK
KMK GT1 | KMK - Kerr McGee Kwinana | 11 | KMK | Kerr McGee Kwinana | WKMK
KMM 8 | KMM - Kerr McGee Muchea | 132 | KMM | Kerr McGee Muchea | WKMM
KMM LD | KMM - Kerr McGee Muchea | 132 | KMM | Kerr McGee Muchea | WKMM
KMP 9 | KMP - Kemerton Power | 330 | KMP | Kemerton Power | WKMP
KMP GT1 | KMP - Kemerton Power | 15.75 | KMP | Kemerton Power | WKMP
KMP GT2 | KMP - Kemerton Power | 15.75 | KMP | Kemerton Power | WKMP
KND 3B1 | KND - Kwinana Donaldson Road | 11.5 | KND | Kwinana Donaldson Road | WKND
KND 3B2 | KND - Kwinana Donaldson Road | 11.5 | KND | Kwinana Donaldson Road | WKND
KND 8 | KND - Kwinana Donaldson Road | 132 | KND | Kwinana Donaldson Road | WKND
KND_POC | KND - Kwinana Donaldson Road | 132 | KND | Kwinana Donaldson Road | WKND
KNL 0T1 | KNL - Kenwick Link | 22 | KNL | Kenwick Link | WKNL
KNL 801a | KNL - Kenwick Link | 132 | KNL | Kenwick Link | WKNL
KNL 901a | KNL - Kenwick Link | 330 | KNL | Kenwick Link | WKNL
KNS 3B21 | KNS - Kambalda Nickle Smelter | 11 | KNS | Kambalda Nickle Smelter | WKNS
KNS 3B22 | KNS - Kambalda Nickle Smelter | 11 | KNS | Kambalda Nickle Smelter | WKNS
KNS 3B41 | KNS - Kambalda Nickle Smelter | 11 | KNS | Kambalda Nickle Smelter | WKNS
KNS 3B42 | KNS - Kambalda Nickle Smelter | 11 | KNS | Kambalda Nickle Smelter | WKNS
KNS 3G1 | KNS - Kambalda Nickle Smelter | 11 | KNS | Kambalda Nickle Smelter | WKNS
KNS 3G3 | KNS - Kambalda Nickle Smelter | 11 | KNS | Kambalda Nickle Smelter | WKNS
KOJ 5B3 | KOJ - Kojonup | 22 | KOJ | Kojonup | WKOJ
KOJ 703 | KOJ - Kojonup | 66 | KOJ | Kojonup | WKOJ
KOJ 709 | KOJ - Kojonup | 66 | KOJ | Kojonup | WKOJ
KOJ 800X | KOJ - Kojonup | 132 | KOJ | Kojonup | WKOJ
KOJ 800Y | KOJ - Kojonup | 132 | KOJ | Kojonup | WKOJ
KPP 8 | KPP - Kwinana Power Partnership | 132 | KPP | Kwinana Power Partnership | WKPP
KRA 6BA | KRA - Karara Mine | 33 | KRA | Karara | WKRA
KRA 6BB | KRA - Karara Mine | 33 | KRA | Karara | WKRA
KRA 6BC | KRA - Karara Mine | 33 | KRA | Karara | WKRA
KRA 6BD | KRA - Karara Mine | 33 | KRA | Karara | WKRA
KRA 9 | KRA - Karara Mine | 330 | KRA | Karara | WKRA
KRK 800A | KRK- King Rocks | 132 | KRK | King Rocks | WKRK
KRW 800A | KRK- King Rocks | 132 | KRK | King Rocks | WKRK
KRW HV_Bus | KRK- King Rocks | 132 | KRK | King Rocks | WKRK
KRW MV Bus | KRK- King Rocks | 33 | KRK | King Rocks | WKRK
KRW MV_Bus | KRK- King Rocks | 9 | KRK | King Rocks | WKRK
KRW WA11 | KRK- King Rocks | 33 | KRK | King Rocks | WKRK
KRW WTG_AGG1 MV | KRK- King Rocks | 33 | KRK | King Rocks | WKRK
KRW WTG_AGG1LV | KRK- King Rocks | 0.72 | KRK | King Rocks | WKRK
KRW WTG_AGG2 MW | KRK- King Rocks | 33 | KRK | King Rocks | WKRK
KRW WTG_AGG2LV | KRK- King Rocks | 0.72 | KRK | King Rocks | WKRK
KW 0G2 | KW - Kwinana | 11.5 | KW | Kwinana terminal | WKWT
KW 0G3 | KW - Kwinana | 11.5 | KW | Kwinana terminal | WKWT
KW 700F | KW - Kwinana | 22 | KW | Kwinana terminal | WKWT
KW 700R | KW - Kwinana | 22 | KW | Kwinana terminal | WKWT
KW 722m | KW - Kwinana | 66 | KW | Kwinana terminal | WKWT
KW 752m | KW - Kwinana | 66 | KW | Kwinana terminal | WKWT
KW 800A1 | KW - Kwinana | 132 | KW | Kwinana terminal | WKWT
KW 800A2 | KW - Kwinana | 132 | KW | Kwinana terminal | WKWT
KW 800B1 | KW - Kwinana | 132 | KW | Kwinana terminal | WKWT
KW 800B2 | KW - Kwinana | 132 | KW | Kwinana terminal | WKWT
KW 900A | KW - Kwinana | 330 | KW | Kwinana terminal | WKWT
KW 900B | KW - Kwinana | 330 | KW | Kwinana terminal | WKWT
KWB 900A1 | KWB - Kwinana BESS | 330 | KWB | Kwinana terminal | WKWT
KWB 900A2 | KWB - Kwinana BESS | 330 | KWB | Kwinana terminal | WKWT
KWB 900B1 | KWB - Kwinana BESS | 330 | KWB | Kwinana terminal | WKWT
KWB 900B2 | KWB - Kwinana BESS | 330 | KWB | Kwinana terminal | WKWT
KWB BESS1 AUX1 DB | KWB - Kwinana BESS | 0.415 | KWB | Kwinana terminal | WKWT
KWB BESS1 AUX2 DB | KWB - Kwinana BESS | 0.415 | KWB | Kwinana terminal | WKWT
KWB BESS1 AUX3 DB | KWB - Kwinana BESS | 0.415 | KWB | Kwinana terminal | WKWT
KWB BESS1 LT2 OBFA10 | KWB - Kwinana BESS | 0.415 | KWB | Kwinana terminal | WKWT
KWB BESS1 LV 0.69 kV A1a | KWB - Kwinana BESS | 0.69 | KWB | Kwinana terminal | WKWT
KWB BESS1 LV 0.69 kV A1b | KWB - Kwinana BESS | 0.69 | KWB | Kwinana terminal | WKWT
KWB BESS1 LV 0.69 kV A2a | KWB - Kwinana BESS | 0.69 | KWB | Kwinana terminal | WKWT
KWB BESS1 LV 0.69 kV A2b | KWB - Kwinana BESS | 0.69 | KWB | Kwinana terminal | WKWT
KWB BESS1 LV 0.69 kV B1a | KWB - Kwinana BESS | 0.69 | KWB | Kwinana terminal | WKWT
KWB BESS1 LV 0.69 kV B1b | KWB - Kwinana BESS | 0.69 | KWB | Kwinana terminal | WKWT
KWB BESS1 LV 0.69 kV B2a | KWB - Kwinana BESS | 0.69 | KWB | Kwinana terminal | WKWT
KWB BESS1 LV 0.69 kV B2b | KWB - Kwinana BESS | 0.69 | KWB | Kwinana terminal | WKWT
KWB BESS1 MV 33 kV A1 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS1 MV 33 kV A2 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS1 MV 33 kV B1 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS1 MV 33 kV B2 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS1 MV 33kV 0BBA00 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS1 MV 33kV 0BBB00 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS1 MV 33kV 0BBC00 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS1 MV 33kV 0BBD00 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS2 LV Terminal | KWB - Kwinana BESS | 0.66 | KWB | Kwinana terminal | WKWT
KWB BESS2 LV Terminal2 | KWB - Kwinana BESS | 0.66 | KWB | Kwinana terminal | WKWT
KWB BESS2 LV_Aux1 | KWB - Kwinana BESS | 0.415 | KWB | Kwinana terminal | WKWT
KWB BESS2 LV_Aux2 | KWB - Kwinana BESS | 0.415 | KWB | Kwinana terminal | WKWT
KWB BESS2 MV Terminal 1 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS2 MV Terminal 2 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS2 MV Terminal 4 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS2 MV Terminal 5 | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS2 MV Terminal A | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWB BESS2 MV Terminal B | KWB - Kwinana BESS | 33 | KWB | Kwinana terminal | WKWT
KWW 8 | LTH - Leath Road_Kwinana Waste Energy | 132 | LTH | Leath Road | WLTH
LDE 5B1 | LDE - Landsdale | 22 | LDE | Landsdale | WLDE
LDE 5B2 | LDE - Landsdale | 22 | LDE | Landsdale | WLDE
LDE 5B3 | LDE - Landsdale | 22 | LDE | Landsdale | WLDE
LDE 8 | LDE - Landsdale | 132 | LDE | Landsdale | WLDE
LEF 3B1 | LEF - Lefroy | 11 | WMS | Western Mining Smelter | WWMS
LEF 8 | LEF - Lefroy | 132 | WMS | Western Mining Smelter | WWMS
LTH 8 | LTH - Leath Road_Kwinana Waste Energy | 132 | LTH | Leath Road | WLTH
LV_Node (1) | PCY - Piccadilly St | 0.63 | PCY | Piccadilly | WPCY
LV_Node (2) | PCY - Piccadilly St | 0.63 | PCY | Piccadilly | WPCY
LV_Node(1) | BLD - Boulder | 0.55 | BLD | Boulder | WBLD
LV_Node(1) | WKT - West Kalgoorlie Terminal | 0.55 | WKT | West Kalgoorlie Terminal | WWKT
LV_Node(2) | BLD - Boulder | 0.63 | BLD | Boulder | WBLD
LWT 900A | LWT - Landwehr Terminal | 330 | LWT | Landwehr Terminal | WLWT
LWT 900B | LWT - Landwehr Terminal | 330 | LWT | Landwehr Terminal | WLWT
MA 3B1 | MA - Manning Street | 11 | MA | Manning Street | WMAG
MA 3B2 | MA - Manning Street | 11 | MA | Manning Street | WMAG
MA 3B3 | MA - Manning Street | 11 | MA | Manning Street | WMAG
MA 8 | MA - Manning Street | 132 | MA | Manning Street | WMAG
MBA 5B12 | MBA - Mumbida Wind Farm | 22 | MBA | Mumbida Wind Farm (IPP) | WMBW
MBA 8 | MBA - Mumbida Wind Farm | 132 | MBA | Mumbida Wind Farm (WP) | WMBW
MBA 8B1 | MBA - Mumbida Wind Farm | 132 | MBA | Mumbida Wind Farm (IPP) | WMBW
MBR 5B1 | MBR - Mount Barker | 22 | MBR | Mount Barker | WMBR
MBR 5B2 | MBR - Mount Barker | 22 | MBR | Mount Barker | WMBR
MBR 8 | MBR - Mount Barker | 132 | MBR | Mount Barker | WMBR
MCE 3B1 | MCE - Medical Centre 132kV | 11 | MCE | Medical Centre | WMCE
MCE 3B2 | MCE - Medical Centre 132kV | 11 | MCE | Medical Centre | WMCE
MCE 3B3 | MCE - Medical Centre 132kV | 11 | MCE | Medical Centre | WMCE
MCE 7 | MCE - Medical Centre 132kV | 66 | MCE | Medical Centre | WMCE
MDN 5B1 | MDN - Maddington | 22 | MDN | Maddington | WMDN
MDN 5B2 | MDN - Maddington | 22 | MDN | Maddington | WMDN
MDN 5B3 | MDN - Maddington | 22 | MDN | Maddington | WMDN
MDN 8 | MDN - Maddington | 132 | MDN | Maddington | WMDN
MDP 3B1 | MDP - Merredin Power Station | 11.5 | MDP | Merredin Power Station | WMDP
MDP 3B2 | MDP - Merredin Power Station | 11.5 | MDP | Merredin Power Station | WMDP
MDP 8 | MDP - Merredin Power Station | 132 | MDP | Merredin Power Station | WMDP
MDY 5B1 | MDY - Munday | 22 | MDY | Munday | WMDY
MDY 5B2 | MDY - Munday | 22 | MDY | Munday | WMDY
MDY 5B3 | MDY - Munday | 22 | MDY | Munday | WMDY
MDY 8 | MDY - Munday | 132 | MDY | Munday | WMDY
MEB 8 | MEB - Merredin Battery | 132 | MEB | Merredin Battery | WMEB
MED 5B1 | MED - Medina | 22 | MED | Medina | WMED
MED 5B2 | MED - Medina | 22 | MED | Medina | WMED
MED 5B3 | MED - Medina | 22 | MED | Medina | WMED
MED 8 | MED - Medina | 132 | MED | Medina | WMED
MER 5B1 | MER - Merredin | 22 | MER | Merredin | WMER
MER 5B2 | MER - Merredin | 22 | MER | Merredin | WMER
MER 5B3 | MER - Merredin | 22 | MER | Merredin | WMER
MER 700A1 | MER - Merredin | 66 | MER | Merredin | WMER
MER 700A2 | MER - Merredin | 66 | MER | Merredin | WMER
MER 700B1 | MER - Merredin | 66 | MER | Merredin | WMER
MER 700B2 | MER - Merredin | 66 | MER | Merredin | WMER
MER 700B3 | MER - Merredin | 66 | MER | Merredin | WMER
MER 700B4 | MER - Merredin | 66 | MER | Merredin | WMER
MER 800 | MER - Merredin | 132 | MER | Merredin | WMER
MGA 8 | MGA - Mungarra | 132 | MGA | Mungarra | WMGA
MGA GT1 | MGA - Mungarra | 11 | MGA | Mungarra | WMGA
MGA GT3 | MGA - Mungarra | 11 | MGA | Mungarra | WMGA
MH 5B1 | MH - Mandurah | 22 | MH | Mandurah | WMHA
MH 5B2 | MH - Mandurah | 22 | MH | Mandurah | WMHA
MH 5B3 | MH - Mandurah | 22 | MH | Mandurah | WMHA
MH 8B1 | MH - Mandurah | 132 | MH | Mandurah | WMHA
MH 8B2 | MH - Mandurah | 132 | MH | Mandurah | WMHA
MIL 3B1.A | MIL - Milligan Street | 11 | MIL | Milligan Street | WMIL
MIL 3B1.D | MIL - Milligan Street | 11 | MIL | Milligan Street | WMIL
MIL 3B2.E | MIL - Milligan Street | 11 | MIL | Milligan Street | WMIL
MIL 3B2.H | MIL - Milligan Street | 11 | MIL | Milligan Street | WMIL
MIL 3B3.P | MIL - Milligan Street | 11 | MIL | Milligan Street | WMIL
MIL 3B3.S | MIL - Milligan Street | 11 | MIL | Milligan Street | WMIL
MIL 800A1 | MIL - Milligan Street | 132 | MIL | Milligan Street | WMIL
MIL 800A2 | MIL - Milligan Street | 132 | MIL | Milligan Street | WMIL
MIL 800A3 | MIL - Milligan Street | 132 | MIL | Milligan Street | WMIL
MJ 5A2 | MJ - Midland Junction | 22 | MJ | Midland Junction | WMJX
MJ 5A3 | MJ - Midland Junction | 22 | MJ | Midland Junction | WMJX
MJ 5A4 | MJ - Midland Junction | 22 | MJ | Midland Junction | WMJX
MJ 5B1 | MJ - Midland Junction | 22 | MJ | Midland Junction | WMJX
MJ 5B2 | MJ - Midland Junction | 22 | MJ | Midland Junction | WMJX
MJ 5B3 | MJ - Midland Junction | 22 | MJ | Midland Junction | WMJX
MJ 8 | MJ - Midland Junction | 132 | MJ | Midland Junction | WMJX
MJP 5B1 | MJP - Manjimup | 22 | MJP | Manjimup | WMJP
MJP 5B2 | MJP - Manjimup | 22 | MJP | Manjimup | WMJP
MJP 8 | MJP - Manjimup | 132 | MJP | Manjimup | WMJP
MLA 800X | MLA - Mount Lawley | 132 | MLA | Mount Lawley | WMLA
MLA 800Z | MLA - Mount Lawley | 132 | MLA | Mount Lawley | WMLA
MLG 5B1 | MLG - Malaga | 22 | MLG | Malaga | WMLG
MLG 5B2 | MLG - Malaga | 22 | MLG | Malaga | WMLG
MLG 5B3 | MLG - Malaga | 22 | MLG | Malaga | WMLG
MMR 500A1_1 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MMR 500A1_2 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MMR 500A2 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MMR 500A3 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MMR 500A4 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MO 3B1 | MO - Morley | 11 | MO | Morley | WMOY
MO 3B2 | MO - Morley | 11 | MO | Morley | WMOY
MO 3B3 | MO - Morley | 11 | MO | Morley | WMOY
MO 8 | MO - Morley | 132 | MO | Morley | WMOY
MOR 6B1 | MOR - Moora | 33 | MOR | Moora | WMOR
MOR 6B2 | MOR - Moora | 33 | MOR | Moora | WMOR
MOR 6B3 | MOR - Moora | 33 | MOR | Moora | WMOR
MOR 8 | MOR - Moora | 132 | MOR | Moora | WMOR
MO_T3_3 | MO - Morley | 11 | MO | Morley | WMOY
MPS 4G7 | MPS - Muja Power Station | 16 | MPS | Muja Power Station | WMPS
MPS 4G8 | MPS - Muja Power Station | 16 | MPS | Muja Power Station | WMPS
MR 5A1 | MR - Margaret River | 22 | MR | Margaret River | WMRV
MR 5A2a | MR - Margaret River | 22 | MR | Margaret River | WMRV
MR 5A2b | MR - Margaret River | 22 | MR | Margaret River | WMRV
MR 5A2c | MR - Margaret River | 22 | MR | Margaret River | WMRV
MR 7 | MR - Margaret River | 66 | MR | Margaret River | WMRV
MRN 8 | MRN - Mason Road North | 132 | MRN | Mason Road North | WMRN
MRR 504 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MRR 507 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MRR 511 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MRR 512 HV CUST | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MRR 523 HV CUST | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MRR 525 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MRR 526 HV CUST | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MRR 533 | MRR - Marriott Road | 22 | MRR | Marriott Road | WMRR
MRR 8 | MRR - Marriott Road | 132 | MRR | Marriott Road | WMRR
MRS POC_Aggregated(1) | MRS - Merredin Solar Farm | 220 | MRS | Merredin Solar Farm | WMRS
MRT 0T1 | MRT - Merredin Terminal | 29.5 | MRT | Merredin Terminal | WMRT
MRT 0T2 | MRT - Merredin Terminal | 29.5 | MRT | Merredin Terminal | WMRT
MRT 800A1 | MRT - Merredin Terminal | 132 | MRT | Merredin Terminal | WMRT
MRT 800A2 | MRT - Merredin Terminal | 132 | MRT | Merredin Terminal | WMRT
MRT 800A3 | MRT - Merredin Terminal | 132 | MRT | Merredin Terminal | WMRT
MRT SVC1_SR | MRT - Merredin Terminal | 29.5 | MRT | Merredin Terminal | WMRT
MRT SVC2_SR | MRT - Merredin Terminal | 29.5 | MRT | Merredin Terminal | WMRT
MRT X00A | MRT - Merredin Terminal | 220 | MRT | Merredin Terminal | WMRT
MRT X00B | MRT - Merredin Terminal | 220 | MRT | Merredin Terminal | WMRT
MRT X34 | MRT - Merredin Terminal | 220 | MRT | Merredin Terminal | WMRT
MRT X44 | MRT - Merredin Terminal | 220 | MRT | Merredin Terminal | WMRT
MSH 8 | WHT- Whiteman Park | 132 | WHT | Whiteman Park | WWHT
MSR 500A1 | MSR - Mason Road | 22 | MSR | Mason Road | WMSR
MSR 500A2 | MSR - Mason Road | 22 | MSR | Mason Road | WMSR
MSR 500A3 | MSR - Mason Road | 22 | MSR | Mason Road | WMSR
MSR 500A4 | MSR - Mason Road | 22 | MSR | Mason Road | WMSR
MSR 500A5 | MSR - Mason Road | 22 | MSR | Mason Road | WMSR
MSR 800A1a | MSR - Mason Road | 132 | MSR | Mason Road | WMSR
MSR 800A1b | MSR - Mason Road | 132 | MSR | Mason Road | WMSR
MSR 800A1c | MSR - Mason Road | 132 | MSR | Mason Road | WMSR
MSR 800A2a | MSR - Mason Road | 132 | MSR | Mason Road | WMSR
MSR 800A2b | MSR - Mason Road | 132 | MSR | Mason Road | WMSR
MSR 800A2c | MSR - Mason Road | 132 | MSR | Mason Road | WMSR
MSR 800A2d | MSR - Mason Road | 132 | MSR | Mason Road | WMSR
MSR 800A2e | MSR - Mason Road | 132 | MSR | Mason Road | WMSR
MSS 5B1 | MSS - Meadow Springs | 22 | MSS | Meadow Springs | WMSS
MSS 5B2 | MSS - Meadow Springs | 22 | MSS | Meadow Springs | WMSS
MSS 5B3 | MSS - Meadow Springs | 22 | MSS | Meadow Springs | WMSS
MSS 8 | MSS - Meadow Springs | 132 | MSS | Meadow Springs | WMSS
MU 3SD1 | MU - Muja | 11.2 | MU | Muja terminal | WMUT
MU 3SD2 | MU - Muja | 11.2 | MU | Muja terminal | WMUT
MU 5BT1 | MU - Muja | 22 | MU | Muja terminal | WMUT
MU 5BT3 | MU - Muja | 29.5 | MU | Muja terminal | WMUT
MU 700A | MU - Muja | 66 | MU | Muja terminal | WMUT
MU 700B | MU - Muja | 66 | MU | Muja terminal | WMUT
MU 800A1 | MU - Muja | 132 | MU | Muja terminal | WMUT
MU 800A2 | MU - Muja | 132 | MU | Muja terminal | WMUT
MU 800B1 | MU - Muja | 132 | MU | Muja terminal | WMUT
MU 800B2 | MU - Muja | 132 | MU | Muja terminal | WMUT
MU 800TB | MU - Muja | 132 | MU | Muja terminal | WMUT
MU 808 | MU - Muja | 132 | MU | Muja terminal | WMUT
MU 824 | MU - Muja | 132 | MU | Muja terminal | WMUT
MU 900A | MU - Muja | 330 | MU | Muja terminal | WMUT
MU 900B | MU - Muja | 330 | MU | Muja terminal | WMUT
MU 934 | MU - Muja | 330 | MU | Muja terminal | WMUT
MU BT2T | MU - Muja | 29.5 | MU | Muja terminal | WMUT
MU X00A | MU - Muja | 220 | MU | Muja terminal | WMUT
MU X00B | MU - Muja | 220 | MU | Muja terminal | WMUT
MUC 5B1 | MUC - Muchea | 22 | MUC | Muchea | WMUC
MUC 5B2 | MUC - Muchea | 22 | MUC | Muchea | WMUC
MUC 5B3 | MUC - Muchea | 22 | MUC | Muchea | WMUC
MUC 8 | MUC - Muchea | 132 | MUC | Muchea | WMUC
MUL 5B1 | MUL - Mullaloo | 22 | MUL | Mullaloo | WMUL
MUL 5B2 | MUL - Mullaloo | 22 | MUL | Mullaloo | WMUL
MUL 5B3 | MUL - Mullaloo | 22 | MUL | Mullaloo | WMUL
MUL 8 | MUL - Mullaloo | 132 | MUL | Mullaloo | WMUL
MUR 5B1 | MUR - Murdoch | 22 | MUR | Murdoch | WMUR
MUR 5B2 | MUR - Murdoch | 22 | MUR | Murdoch | WMUR
MUR 5B3 | MUR - Murdoch | 22 | MUR | Murdoch | WMUR
MUR 8 | MUR - Murdoch | 132 | MUR | Murdoch | WMUR
MV Substation (1) | PCY - Piccadilly St | 11 | PCY | Piccadilly | WPCY
MV Substation (2) | PCY - Piccadilly St | 11 | PCY | Piccadilly | WPCY
MV Substation(1) | BLD - Boulder | 33 | BLD | Boulder | WBLD
MV Substation(1) | WKT - West Kalgoorlie Terminal | 33 | WKT | West Kalgoorlie Terminal | WWKT
MV Substation(2) | BLD - Boulder | 33 | BLD | Boulder | WBLD
MVE 8 | FFD - Forrestfield | 132 | FFD | Forrestfield | WFFD
MV_Node (1) | PCY - Piccadilly St | 11 | PCY | Piccadilly | WPCY
MV_Node (2) | PCY - Piccadilly St | 11 | PCY | Piccadilly | WPCY
MV_Node(1) | BLD - Boulder | 33 | BLD | Boulder | WBLD
MV_Node(1) | WKT - West Kalgoorlie Terminal | 33 | WKT | West Kalgoorlie Terminal | WWKT
MV_Node(2) | BLD - Boulder | 33 | BLD | Boulder | WBLD
MW 7 | MW - Mundaring Weir | 66 | MW | Mundaring Weir | WMWR
MYR 5B1 | MYR - Myaree | 22 | MYR | Myaree | WMYR
MYR 5B2 | MYR - Myaree | 22 | MYR | Myaree | WMYR
MYR 5B3 | MYR - Myaree | 22 | MYR | Myaree | WMYR
MYR 7 | MYR - Myaree | 66 | MYR | Myaree | WMYR
NB 5B1 | NB - North Beach | 22 | NB | North Beach | WNBH
NB 5B2 | NB - North Beach | 22 | NB | North Beach | WNBH
NB 5B3 | NB - North Beach | 22 | NB | North Beach | WNBH
NB 8 | NB - North Beach | 132 | NB | North Beach | WNBH
NBT 500 | NBT - Neerabup Terminal | 22 | NBT | Neerabup Terminal | WNBT
NBT 510 | NBT - Neerabup Terminal | 22 | NBT | Neerabup Terminal | WNBT
NBT 800A | NBT - Neerabup Terminal | 132 | NBT | Neerabup Terminal | WNBT
NBT 800B | NBT - Neerabup Terminal | 132 | NBT | Neerabup Terminal | WNBT
NBT 900A | NBT - Neerabup Terminal | 330 | NBT | Neerabup Terminal | WNBT
NBT 900B | NBT - Neerabup Terminal | 330 | NBT | Neerabup Terminal | WNBT
NGK 9 | KW - Kwinana | 330 | KW | NewGen Kwinana Power Station | WNGK
NGK GT3 | KW - Kwinana | 17 | KW | NewGen Kwinana Power Station | WNGK
NGK SG3 | KW - Kwinana | 17 | KW | NewGen Kwinana Power Station | WNGK
NGN 5B1 | NGN - Narrogin | 22 | NGN | Narrogin | WNGN
NGN 5B2 | NGN - Narrogin | 22 | NGN | Narrogin | WNGN
NGN 5B3 | NGN - Narrogin | 22 | NGN | Narrogin | WNGN
NGN 5B4 | NGN - Narrogin | 22 | NGN | Narrogin | WNGN
NGN 7 | NGN - Narrogin | 66 | NGN | Narrogin | WNGN
NGS 700 | NGS - Narrogin South | 66 | NGS | Narrogin South | WNGS
NGS_T1_5 | NGS - Narrogin South | 22 | NGS | Narrogin South | WNGS
NGX X00B | NGS - Narrogin South | 220 | NGS | Narrogin South | WNGS
NOR 0T1 | NOR - Northam | 11 | NOR | Northam | WNOR
NOR 0T2 | NOR - Northam | 11 | NOR | Northam | WNOR
NOR 5B1 | NOR - Northam | 22 | NOR | Northam | WNOR
NOR 5B2 | NOR - Northam | 22 | NOR | Northam | WNOR
NOR 5B3 | NOR - Northam | 22 | NOR | Northam | WNOR
NOR 5B4 | NOR - Northam | 22 | NOR | Northam | WNOR
NOR 7 | NOR - Northam | 66 | NOR | Northam | WNOR
NOR 8 | NOR - Northam | 132 | NOR | Northam | WNOR
NOW 8 | NOW - Nowergup | 132 | NOW | Nowergup | WNOW
NP 3B1 | NP - North Perth | 11 | NP | North Perth | WNPH
NP 3B2 | NP - North Perth | 11 | NP | North Perth | WNPH
NP 3B3 | NP - North Perth | 11 | NP | North Perth | WNPH
NP 8 | NP - North Perth | 132 | NP | North Perth | WNPH
NT 0T2 | NT - Northern Terminal | 22 | NT | Northern Terminal | WNTT
NT 0T3 | NT - Northern Terminal | 22 | NT | Northern Terminal | WNTT
NT 800A1 | NT - Northern Terminal | 132 | NT | Northern Terminal | WNTT
NT 800A13 | NT - Northern Terminal | 132 | NT | Northern Terminal | WNTT
NT 800A2 | NT - Northern Terminal | 132 | NT | Northern Terminal | WNTT
NT 800B1 | NT - Northern Terminal | 132 | NT | Northern Terminal | WNTT
NT 800B2 | NT - Northern Terminal | 132 | NT | Northern Terminal | WNTT
NT 900A | NT - Northern Terminal | 330 | NT | Northern Terminal | WNTT
NT 900B | NT - Northern Terminal | 330 | NT | Northern Terminal | WNTT
NT800B13 | NT - Northern Terminal | 132 | NT | Northern Terminal | WNTT
OC 5B1 | OC - OConnor | 22 | OC | O'Connor | WOCN
OC 5B2 | OC - OConnor | 22 | OC | O'Connor | WOCN
OC 5B3 | OC - OConnor | 22 | OC | O'Connor | WOCN
OC 7 | OC - OConnor | 66 | OC | O'Connor | WOCN
OFE 8 | OFE - Office Road Substation | 132 | OFE | Office Road | WOFE
OLY 900 | OLY - Oakley | 330 | OLY | Oakley | WOLY
OP 3B1 | OP - Osborne Park | 11 | OP | Osborne Park | WOPK
OP 3B2 | OP - Osborne Park | 11 | OP | Osborne Park | WOPK
OP 3B3 | OP - Osborne Park | 11 | OP | Osborne Park | WOPK
OP 8 | OP - Osborne Park | 132 | OP | Osborne Park | WOPK
PBY 5B1 | PBY - Padbury | 22 | PBY | Padbury | WPBY
PBY 5B2 | PBY - Padbury | 22 | PBY | Padbury | WPBY
PBY 5B3 | PBY - Padbury | 22 | PBY | Padbury | WPBY
PBY 8 | PBY - Padbury | 132 | PBY | Padbury | WPBY
PCS Eq Inv-1 Terminal(1) | MRS - Merredin Solar Farm | 0.55 | MRS | Merredin Solar Farm | WMRS
PCS Eq Inv-2 Terminal(1) | MRS - Merredin Solar Farm | 0.55 | MRS | Merredin Solar Farm | WMRS
PCY 3B1 | PCY - Piccadilly St | 11 | PCY | Piccadilly | WPCY
PCY 3B2 | PCY - Piccadilly St | 11 | PCY | Piccadilly | WPCY
PCY 3B3 | PCY - Piccadilly St | 11 | PCY | Piccadilly | WPCY
PCY 8 | PCY - Piccadilly St | 132 | PCY | Piccadilly | WPCY
PIC 502 | PIC - Picton | 22 | PIC | Picton | WPIC
PIC 508 | PIC - Picton | 22 | PIC | Picton | WPIC
PIC 515 | PIC - Picton | 22 | PIC | Picton | WPIC
PIC 570 | PIC - Picton | 20.6 | PIC | Picton | WPIC
PIC 580 | PIC - Picton | 20.6 | PIC | Picton | WPIC
PIC 706 | PIC - Picton | 66 | PIC | Picton | WPIC
PIC 708 | PIC - Picton | 66 | PIC | Picton | WPIC
PIC 711 | PIC - Picton | 66 | PIC | Picton | WPIC
PIC 800A0 | PIC - Picton | 132 | PIC | Picton | WPIC
PIC 800A1 | PIC - Picton | 132 | PIC | Picton | WPIC
PIC 800A2 | PIC - Picton | 132 | PIC | Picton | WPIC
PIC 800A3 | PIC - Picton | 132 | PIC | Picton | WPIC
PJR 800A | PJR - Pinjar Power Station | 132 | PJR | Pinjar Power Station | WGPJ
PJR 800B | PJR - Pinjar Power Station | 132 | PJR | Pinjar Power Station | WGPJ
PJR GT1 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PJR GT10 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PJR GT11 | PJR - Pinjar Power Station | 15 | PJR | Pinjar Power Station | WGPJ
PJR GT2 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PJR GT3 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PJR GT4 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PJR GT5 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PJR GT6 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PJR GT7 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PJR GT8 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PJR GT9 | PJR - Pinjar Power Station | 11 | PJR | Pinjar Power Station | WGPJ
PKS 6B1 | PKS - Parkeston Substation | 33 | PKS | Parkeston | WPKS
PKS 8B1 | PKS - Parkeston Substation | 132 | PKS | Parkeston | WPKS
PLD 5B1 | PLD - Parklands | 22 | PLD | Parklands | WPLD
PLD 5B2 | PLD - Parklands | 22 | PLD | Parklands | WPLD
PLD 8 | PLD - Parklands | 132 | PLD | Parklands | WPLD
PMB 900A1 | PMB - Palmer Battery | 330 | PMB | Palmer Battery | WPMB
PMB 900A2 | PMB - Palmer Battery | 330 | PMB | Palmer Battery | WPMB
PMB 900B1 | PMB - Palmer Battery | 330 | PMB | Palmer Battery | WPMB
PMB 900B2 | PMB - Palmer Battery | 330 | PMB | Palmer Battery | WPMB
PMB BESS1 MP_XFMR_LV | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS1 MP_XFMR_LV(1) | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS1 MP_XFMR_LV(2) | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS1 MP_XFMR_LV(3) | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS1 MV 33 kV RMU1_EQ | PMB - Palmer Battery | 33 | PMB | Palmer Battery | WPMB
PMB BESS1 MV 33 kV RMU2__EQ | PMB - Palmer Battery | 33 | PMB | Palmer Battery | WPMB
PMB BESS1 MV 33kV - 1SB1_EQ | PMB - Palmer Battery | 33 | PMB | Palmer Battery | WPMB
PMB BESS1 MV 33kV 1SB2_EQ | PMB - Palmer Battery | 33 | PMB | Palmer Battery | WPMB
PMB BESS1 PCC_HV_4Eq | PMB - Palmer Battery | 330 | PMB | Palmer Battery | WPMB
PMB BESS1 RMU 1_LV term_1_EQ | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS1 RMU 1_LV term_2_EQ_ | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS1 RMU 2_LV term_1_EQ_ | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS1 RMU 2_LV term_2_EQ_ | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS2 MP_XFMR_LV | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS2 MP_XFMR_LV(1) | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS2 MP_XFMR_LV(2) | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS2 MP_XFMR_LV(3) | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS2 MV 33 kV RMU1_EQ | PMB - Palmer Battery | 33 | PMB | Palmer Battery | WPMB
PMB BESS2 MV 33 kV RMU2__EQ | PMB - Palmer Battery | 33 | PMB | Palmer Battery | WPMB
PMB BESS2 MV 33kV - 1SB1_EQ | PMB - Palmer Battery | 33 | PMB | Palmer Battery | WPMB
PMB BESS2 MV 33kV 1SB2_EQ | PMB - Palmer Battery | 33 | PMB | Palmer Battery | WPMB
PMB BESS2 PCC_HV_4Eq | PMB - Palmer Battery | 330 | PMB | Palmer Battery | WPMB
PMB BESS2 RMU 1_LV term_1_EQ | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS2 RMU 1_LV term_2_EQ_ | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS2 RMU 2_LV term_1_EQ_ | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMB BESS2 RMU 2_LV term_2_EQ_ | PMB - Palmer Battery | 0.48 | PMB | Palmer Battery | WPMB
PMT 900A1 | PMT - Palmer Terminal | 330 | PMT | Palmer Terminal | WPMT
PMT 900B1 | PMT - Palmer Terminal | 330 | PMT | Palmer Terminal | WPMT
PNJ 5B1 | PNJ - Pinjarra | 22 | PNJ | Pinjarra | WPNJ
PNJ 5B2 | PNJ - Pinjarra | 22 | PNJ | Pinjarra | WPNJ
PNJ 5B3 | PNJ - Pinjarra | 22 | PNJ | Pinjarra | WPNJ
PNJ 8 | PNJ - Pinjarra | 132 | PNJ | Pinjarra | WPNJ
PNJ 804 | PNJ - Pinjarra | 132 | PNJ | Pinjarra | WPNJ
PRK 6B1 | PRK - Parkeston | 33 | PRK | Parkeston | WPRK
PRK 6B2 | PRK - Parkeston | 33 | PRK | Parkeston | WPRK
PRK GT1 | PRK - Parkeston | 11 | PRK | Parkeston | WPRK
PRK GT2 | PRK - Parkeston | 11 | PRK | Parkeston | WPRK
PRK GT3 | PRK - Parkeston | 11 | PRK | Parkeston | WPRK
RAN 3B1 | RAN - Rangeway | 11 | RAN | Rangeway | WRAN
RAN 3B2 | RAN - Rangeway | 11 | RAN | Rangeway | WRAN
RAN 3B3 | RAN - Rangeway | 11 | RAN | Rangeway | WRAN
RAN 8B1 | RAN - Rangeway | 132 | RAN | Rangeway | WRAN
RBD 3B3 | BOD - Boddington | 11 | BOD | Boddington | WBOD
RGN 5B1 | RGN - Regans | 22 | RGN | Regans | WRGN
RGN 5B2 | RGN - Regans | 22 | RGN | Regans | WRGN
RGN 5B3 | RGN - Regans | 22 | RGN | Regans | WRGN
RGN 5B4 | RGN - Regans | 22 | RGN | Regans | WRGN
RGN 6B3 | RGN - Regans | 33 | RGN | Regans | WRGN
RGN 8 | RGN - Regans | 132 | RGN | Regans | WRGN
RGT 500A | RGN - Regans | 22 | RGN | Regans | WRGN
RGT 500B | RGN - Regans | 22 | RGN | Regans | WRGN
RGT 900A | RGN - Regans | 330 | RGN | Regans | WRGN
RGT 900B | RGN - Regans | 330 | RGN | Regans | WRGN
RO 5B1 | RO - Rockingham | 22 | RO | Rockingham | WROH
RO 5B2 | RO - Rockingham | 22 | RO | Rockingham | WROH
RO 5B3 | RO - Rockingham | 22 | RO | Rockingham | WROH
RO 8 | RO - Rockingham | 132 | RO | Rockingham | WROH
RTN 5B1 | RTN - Riverton | 22 | RTN | Riverton | WRTN
RTN 5B2 | RTN - Riverton | 22 | RTN | Riverton | WRTN
RTN 5B3 | RTN - Riverton | 22 | RTN | Riverton | WRTN
RTN 8 | RTN - Riverton | 132 | RTN | Riverton | WRTN
RVE 5B1 | RVE - Rivervale | 22 | RVE | Rivervale | WRVE
RVE 5B2 | RVE - Rivervale | 22 | RVE | Rivervale | WRVE
RVE 5B3 | RVE - Rivervale | 22 | RVE | Rivervale | WRVE
RVE 8 | RVE - Rivervale | 132 | RVE | Rivervale | WRVE
SF 0T5 | SF - South Fremantle | 20.6 | SF | South Fremantle | WSFT
SF 700A | SF - South Fremantle | 66 | SF | South Fremantle | WSFT
SF 700B1 | SF - South Fremantle | 66 | SF | South Fremantle | WSFT
SF 700B2 | SF - South Fremantle | 66 | SF | South Fremantle | WSFT
SF 800A | SF - South Fremantle | 132 | SF | South Fremantle | WSFT
SF 800B | SF - South Fremantle | 132 | SF | South Fremantle | WSFT
SF-22kV-A | EMD - Emu Downs | 22 | EMD | Emu Downs | WEMD
SF-22kV-B | EMD - Emu Downs | 22 | EMD | Emu Downs | WEMD
SHO 900A | SHO - Shotts | 330 | SHO | Shotts | WSHO
SHO 900B | SHO - Shotts | 330 | SHO | Shotts | WSHO
SNR 500 A4A8 | SNR - Southern River | 22 | SNR | Southern River | WSNR
SNR 500A1 | SNR - Southern River | 22 | SNR | Southern River | WSNR
SNR 500A2 | SNR - Southern River | 22 | SNR | Southern River | WSNR
SNR 500A3 | SNR - Southern River | 22 | SNR | Southern River | WSNR
SNR 500A4 | SNR - Southern River | 22 | SNR | Southern River | WSNR
SNR 500A5 | SNR - Southern River | 22 | SNR | Southern River | WSNR
SNR 500A6 | SNR - Southern River | 22 | SNR | Southern River | WSNR
SNR 500A7 | SNR - Southern River | 22 | SNR | Southern River | WSNR
SNR 500A8 | SNR - Southern River | 22 | SNR | Southern River | WSNR
SNR 8 | SNR - Southern River | 132 | SNR | Southern River | WSNR
SPK 3B1.A | SPK - Shenton Park 132kV | 11 | SPK | Shenton Park | WSPK
SPK 3B1.B | SPK - Shenton Park 132kV | 11 | SPK | Shenton Park | WSPK
SPK 3B2.A | SPK - Shenton Park 132kV | 11 | SPK | Shenton Park | WSPK
SPK 3B2.B | SPK - Shenton Park 132kV | 11 | SPK | Shenton Park | WSPK
SPK 3B3.A | SPK - Shenton Park 132kV | 11 | SPK | Shenton Park | WSPK
SPK 3B3.B | SPK - Shenton Park 132kV | 11 | SPK | Shenton Park | WSPK
SPK 8 | SPK - Shenton Park 132kV | 132 | SPK | Shenton Park | WSPK
ST 0T1 | ST - Southern Terminal | 23.1 | ST | Southern Terminal | WSTT
ST 0T2 | ST - Southern Terminal | 22 | ST | Southern Terminal | WSTT
ST 0T3 | ST - Southern Terminal | 22 | ST | Southern Terminal | WSTT
ST 500 | ST - Southern Terminal | 21 | ST | Southern Terminal | WSTT
ST 800A1 | ST - Southern Terminal | 132 | ST | Southern Terminal | WSTT
ST 800A2 | ST - Southern Terminal | 132 | ST | Southern Terminal | WSTT
ST 800A3 | ST - Southern Terminal | 132 | ST | Southern Terminal | WSTT
ST 800B1 | ST - Southern Terminal | 132 | ST | Southern Terminal | WSTT
ST 800B2 | ST - Southern Terminal | 132 | ST | Southern Terminal | WSTT
ST 800B3 | ST - Southern Terminal | 132 | ST | Southern Terminal | WSTT
ST 900A | ST - Southern Terminal | 330 | ST | Southern Terminal | WSTT
ST 900B | ST - Southern Terminal | 330 | ST | Southern Terminal | WSTT
SUM 8 | SUM - Summers Street | 132 | SUM | Summers Street | WSUM
SVC-1-LV | EMD - Emu Downs | 0.69 | EMD | Emu Downs | WEMD
SVC-2-LV | EMD - Emu Downs | 0.69 | EMD | Emu Downs | WEMD
SVY 5B1 | SVY - Sawyers Valley 132kV | 22 | SVY | Sawyers Valley 132kV | WSVY
SVY 5B2 | SVY - Sawyers Valley 132kV | 22 | SVY | Sawyers Valley 132kV | WSVY
SVY 5B3 | SVY - Sawyers Valley 132kV | 22 | SVY | Sawyers Valley 132kV | WSVY
SVY 8 | SVY - Sawyers Valley 132kV | 132 | SVY | Sawyers Valley 132kV | WSVY
SX 6 | SX - Southern Cross | 33 | SX | Southern Cross | WSNX
SX 7 | SX - Southern Cross | 66 | SX | Southern Cross | WSNX
SX VR S | SX - Southern Cross | 33 | SX | Southern Cross | WSNX
T-Inter1 | EMD - Emu Downs | 22 | EMD | Emu Downs | WEMD
T-Inter2 | EMD - Emu Downs | 22 | EMD | Emu Downs | WEMD
T4a_LV | ZBR - Beros Road Wind Farm | 0.4 | ZBR | Eneabba | WENB
TESLA 11 kV | NOR - Northam | 11 | NOR | Northam | WNOR
TESLA 11 kV | PIC - Picton | 11 | PIC | Picton | WPIC
TESLA 11 kV | MRR - Marriott Road | 11 | MRR | Marriott Road | WMRR
TESLA 11kV | GTN - Geraldton | 11 | GTN | Geraldton | WGTN
TESLA 33kV | GTN - Geraldton | 33 | GTN | Geraldton | WGTN
TG-AGG LV 1 | EMD - Emu Downs | 0.69 | EMD | Emu Downs | WEMD
TG-AGG LV 2 | EMD - Emu Downs | 0.69 | EMD | Emu Downs | WEMD
TLA 6_6 | TLA - Tianqi Lithium Australia | 6.6 | TLA | Tianqi Lithium Australia | WTLA
TLA 8 | TLA - Tianqi Lithium Australia | 132 | TLA | Tianqi Lithium Australia | WTLA
TPP 8 | TPP - Tiwest Pigment Plant | 132 | TPP | Tiwest Pigment Plant | WTPP
TS 6B1 | TS - Three Springs | 33 | TS | Three Springs | WTSG
TS 6B3 | TS - Three Springs | 33 | TS | Three Springs | WTSG
TS 8B1 | TS - Three Springs | 132 | TS | Three Springs | WTSG
TS 8B2 | TS - Three Springs | 132 | TS | Three Springs | WTSG
TSS 8 | TSS - Three Springs Solar Farm | 330 | TSS | Three Springs Solar Farm | WTSS
TSSF 33kV Bus_Eq | TSS - Three Springs Solar Farm | 33 | TSS | Three Springs Solar Farm | WTSS
TSSF 8 | TSS - Three Springs Solar Farm | 330 | TSS | Three Springs Solar Farm | WTSS
TSSF AUX TX01 HV | TSS - Three Springs Solar Farm | 33 | TSS | Three Springs Solar Farm | WTSS
TSSF AUX TX01 LV | TSS - Three Springs Solar Farm | 0.415 | TSS | Three Springs Solar Farm | WTSS
TSSF AUX TX02 HV | TSS - Three Springs Solar Farm | 33 | TSS | Three Springs Solar Farm | WTSS
TSSF AUX TX02 LV | TSS - Three Springs Solar Farm | 0.415 | TSS | Three Springs Solar Farm | WTSS
TSSF INV01_LV_Eq | TSS - Three Springs Solar Farm | 0.63 | TSS | Three Springs Solar Farm | WTSS
TSSF INV01_MV_Eq | TSS - Three Springs Solar Farm | 33 | TSS | Three Springs Solar Farm | WTSS
TSSF Power Transformer 01_LV | TSS - Three Springs Solar Farm | 33 | TSS | Three Springs Solar Farm | WTSS
TSSF Power Transformer 02_LV | TSS - Three Springs Solar Farm | 33 | TSS | Three Springs Solar Farm | WTSS
TSSF RMU 1_Eq | TSS - Three Springs Solar Farm | 33 | TSS | Three Springs Solar Farm | WTSS
TSSF Terminal 1 | TSS - Three Springs Solar Farm | 33 | TSS | Three Springs Solar Farm | WTSS
TSSF Terminal 3 | TSS - Three Springs Solar Farm | 33 | TSS | Three Springs Solar Farm | WTSS
TST 500a | TST - Three Springs Terminal | 22 | TST | Three Springs Terminal | WTST
TST 500b | TST - Three Springs Terminal | 22 | TST | Three Springs Terminal | WTST
TST 800A | TST - Three Springs Terminal | 132 | TST | Three Springs Terminal | WTST
TST 800B | TST - Three Springs Terminal | 132 | TST | Three Springs Terminal | WTST
TST 900A | TST - Three Springs Terminal | 330 | TST | Three Springs Terminal | WTST
TST 900B | TST - Three Springs Terminal | 330 | TST | Three Springs Terminal | WTST
TT 5B1 | TT - Tate Street | 22 | TT | Tate Street | WTTS
TT 5B2 | TT - Tate Street | 22 | TT | Tate Street | WTTS
TT 5B3 | TT - Tate Street | 22 | TT | Tate Street | WTTS
TT 7 | TT - Tate Street | 66 | TT | Tate Street | WTTS
TX01_Agg_33kV | MRS - Merredin Solar Farm | 33 | MRS | Merredin Solar Farm | WMRS
TX01_Agg_33kV_Bushing | MRS - Merredin Solar Farm | 33 | MRS | Merredin Solar Farm | WMRS
TX26_22kV | CBP - CSBP | 22 | CBP | CSBP | WCBP
Terminal SC1 | BGA - Badgingarra | 0.6 | BGA | Badgingarra | WBGA
Terminal SC2 | BGA - Badgingarra | 0.6 | BGA | Badgingarra | WBGA
Terminal SC3 | BGA - Badgingarra | 0.6 | BGA | Badgingarra | WBGA
VP 7 | VP - Victoria Pak | 66 | VP | Victoria Pak | WVPA
WAG 5B1 | WAG - Wagin | 22 | WAG | Wagin | WWAG
WAG 5B2 | WAG - Wagin | 22 | WAG | Wagin | WWAG
WAG 5B3 | WAG - Wagin | 22 | WAG | Wagin | WWAG
WAG 7 | WAG - Wagin | 66 | WAG | Wagin | WWAG
WAG_T13_1 | WAG - Wagin | 2.2 | WAG | Wagin | WWAG
WAG_T4_1 | WAG - Wagin | 2.2 | WAG | Wagin | WWAG
WAI 5B1 | WAI - Waikiki | 22 | WAI | Waikiki | WWAI
WAI 5B2 | WAI - Waikiki | 22 | WAI | Waikiki | WWAI
WAI 5B3 | WAI - Waikiki | 22 | WAI | Waikiki | WWAI
WAI 8 | WAI - Waikiki | 132 | WAI | Waikiki | WWAI
WAPL 3BLOAD | WAPL - Worsley Alumina Pty Ltd | 11.5 | WAPL | Worsley Alumina Pty Ltd | WWPL
WAPL 7B4 | WAPL - Worsley Alumina Pty Ltd | 66 | WAPL | Worsley Alumina Pty Ltd | WWPL
WAPL 8B1 | WAPL - Worsley Alumina Pty Ltd | 132 | WAPL | Worsley Alumina Pty Ltd | WWPL
WAPL 8B2 | WAPL - Worsley Alumina Pty Ltd | 132 | WAPL | Worsley Alumina Pty Ltd | WWPL
WAPL G1 | WAPL - Worsley Alumina Pty Ltd | 11.5 | WAPL | Worsley Alumina Pty Ltd | WWPL
WAPL G2 | WAPL - Worsley Alumina Pty Ltd | 11.5 | WAPL | Worsley Alumina Pty Ltd | WWPL
WAPL G3 | WAPL - Worsley Alumina Pty Ltd | 11.5 | WAPL | Worsley Alumina Pty Ltd | WWPL
WAPL G4 | WAPL - Worsley Alumina Pty Ltd | 11.5 | WAPL | Worsley Alumina Pty Ltd | WWPL
WAPL G5 | WAPL - Worsley Alumina Pty Ltd | 11 | WAPL | Worsley Alumina Pty Ltd | WWPL
WAPL G6 | WAPL - Worsley Alumina Pty Ltd | 11 | WAPL | Worsley Alumina Pty Ltd | WWPL
WCG 8 | WCG - Worsley Co Generation | 132 | WCG | Worsley Co Generation | WWCG
WCL 8 | WCL - Western Colleries Limited | 132 | WCL | Western Collieries Limited | WWCL
WD 3A1 | WD - Wembley Downs | 11 | WD | Wembley Downs | WWDN
WD 3A5 | WD - Wembley Downs | 11 | WD | Wembley Downs | WWDN
WD 7 | WD - Wembley Downs | 66 | WD | Wembley Downs | WWDN
WDW 900A | WDW - Warradarge Windfarm | 330 | WDW | Warradarge Windfarm | WWDW
WDW 900B | WDW - Warradarge Windfarm | 330 | WDW | Warradarge Windfarm | WWDW
WDW MV_1 | WDW - Warradarge Windfarm | 33 | WDW | Warradarge Windfarm | WWDW
WDW MV_2 | WDW - Warradarge Windfarm | 33 | WDW | Warradarge Windfarm | WWDW
WDW MV_3 | WDW - Warradarge Windfarm | 33 | WDW | Warradarge Windfarm | WWDW
WDW MV_4 | WDW - Warradarge Windfarm | 33 | WDW | Warradarge Windfarm | WWDW
WDW WTG01_HV | WDW - Warradarge Windfarm | 33 | WDW | Warradarge Windfarm | WWDW
WDW WTG01_LV | WDW - Warradarge Windfarm | 0.65 | WDW | Warradarge Windfarm | WWDW
WDW WTG02_HV | WDW - Warradarge Windfarm | 33 | WDW | Warradarge Windfarm | WWDW
WDW WTG02_LV | WDW - Warradarge Windfarm | 0.65 | WDW | Warradarge Windfarm | WWDW
WDW WTG03_HV | WDW - Warradarge Windfarm | 33 | WDW | Warradarge Windfarm | WWDW
WDW WTG03_LV | WDW - Warradarge Windfarm | 0.65 | WDW | Warradarge Windfarm | WWDW
WDW WTG04_HV | WDW - Warradarge Windfarm | 33 | WDW | Warradarge Windfarm | WWDW
WDW WTG04_LV | WDW - Warradarge Windfarm | 0.65 | WDW | Warradarge Windfarm | WWDW
WE 5B1 | WE - Welshpool | 22 | WE | Welshpool | WWEL
WE 5B2 | WE - Welshpool | 22 | WE | Welshpool | WWEL
WE 5B3 | WE - Welshpool | 22 | WE | Welshpool | WWEL
WE 8 | WE - Welshpool | 132 | WE | Welshpool | WWEL
WGA 5B1 | WGA - Wangara | 22 | WGA | Wangara | WWGA
WGA 8 | WGA - Wangara | 132 | WGA | Wangara | WWGA
WGP 5B1 | WGP - Wagerup | 22 | WGP | Wagerup | WWGP
WGP 5B3 | WGP - Wagerup | 22 | WGP | Wagerup | WWGP
WGP 8 | WGP - Wagerup | 132 | WGP | Wagerup | WWGP
WGP9 BESS Aux_Load_Terminal | LWT - Landwehr Terminal | 0.415 | LWT | Landwehr Terminal | WLWT
WGP9 BESS Aux_Terminal | LWT - Landwehr Terminal | 33 | LWT | Landwehr Terminal | WLWT
WGP9 BESS LV_PCS | LWT - Landwehr Terminal | 0.525 | LWT | Landwehr Terminal | WLWT
WGP9 BESS LV_Terminal | LWT - Landwehr Terminal | 0.525 | LWT | Landwehr Terminal | WLWT
WGP9 BESS MV_PCS | LWT - Landwehr Terminal | 33 | LWT | Landwehr Terminal | WLWT
WGP9 BESS MV_POC | LWT - Landwehr Terminal | 33 | LWT | Landwehr Terminal | WLWT
WGP9 BESS Main Trafo_LV_Terminal | LWT - Landwehr Terminal | 33 | LWT | Landwehr Terminal | WLWT
WGP9 GT1 | LWT - Landwehr Terminal | 15.7 | LWT | Landwehr Terminal | WLWT
WGP9 GT2 | LWT - Landwehr Terminal | 15.7 | LWT | Landwehr Terminal | WLWT
WGP9 North | LWT - Landwehr Terminal | 330 | LWT | Landwehr Terminal | WLWT
WGP9 South | LWT - Landwehr Terminal | 330 | LWT | Landwehr Terminal | WLWT
WHT A1 800 | WHT- Whiteman Park | 132 | WHT | Whiteman Park | WWHT
WHT A2 800 | WHT- Whiteman Park | 132 | WHT | Whiteman Park | WWHT
WKT 0T1 | WKT - West Kalgoorlie Terminal | 29.5 | WKT | West Kalgoorlie Terminal | WWKT
WKT 0T17 | WKT - West Kalgoorlie Terminal | 29.5 | WKT | West Kalgoorlie Terminal | WWKT
WKT 0T2 | WKT - West Kalgoorlie Terminal | 29.5 | WKT | West Kalgoorlie Terminal | WWKT
WKT 600A1 | WKT - West Kalgoorlie Terminal | 33 | WKT | West Kalgoorlie Terminal | WWKT
WKT 600A2 | WKT - West Kalgoorlie Terminal | 33 | WKT | West Kalgoorlie Terminal | WWKT
WKT 600A6 | WKT - West Kalgoorlie Terminal | 33 | WKT | West Kalgoorlie Terminal | WWKT
WKT 600A7 | WKT - West Kalgoorlie Terminal | 33 | WKT | West Kalgoorlie Terminal | WWKT
WKT 600A8 | WKT - West Kalgoorlie Terminal | 33 | WKT | West Kalgoorlie Terminal | WWKT
WKT 6T4 | WKT - West Kalgoorlie Terminal | 11 | WKT | West Kalgoorlie Terminal | WWKT
WKT 800A1 | WKT - West Kalgoorlie Terminal | 132 | WKT | West Kalgoorlie Terminal | WWKT
WKT 800A2 | WKT - West Kalgoorlie Terminal | 132 | WKT | West Kalgoorlie Terminal | WWKT
WKT 800A3 | WKT - West Kalgoorlie Terminal | 132 | WKT | West Kalgoorlie Terminal | WWKT
WKT GT2 | WKT - West Kalgoorlie Terminal | 11 | WKT | West Kalgoorlie Terminal | WWKT
WKT GT3 | WKT - West Kalgoorlie Terminal | 11 | WKT | West Kalgoorlie Terminal | WWKT
WKT X00A | WKT - West Kalgoorlie Terminal | 220 | WKT | West Kalgoorlie Terminal | WWKT
WKT X00B | WKT - West Kalgoorlie Terminal | 220 | WKT | West Kalgoorlie Terminal | WWKT
WLN 500A1 | WLN - Willetton | 22 | WLN | Willetton | WWLN
WLN 500A5 | WLN - Willetton | 22 | WLN | Willetton | WWLN
WLN 500A6 | WLN - Willetton | 22 | WLN | Willetton | WWLN
WLN 500A7 | WLN - Willetton | 22 | WLN | Willetton | WWLN
WLN 543 | WLN - Willetton | 22 | WLN | Willetton | WWLN
WLN 8 | WLN - Willetton | 132 | WLN | Willetton | WWLN
WLN A1A7 | WLN - Willetton | 22 | WLN | Willetton | WWLN
WLT 0T1 | WLT - Wells Terminal | 22 | WLT | Wells Terminal | WWLT
WLT 0T2 | WLT - Wells Terminal | 22 | WLT | Wells Terminal | WWLT
WLT 8B1 | WLT - Wells Terminal | 132 | WLT | Wells Terminal | WWLT
WLT 8B2 | WLT - Wells Terminal | 132 | WLT | Wells Terminal | WWLT
WLT 8B3 | WLT - Wells Terminal | 132 | WLT | Wells Terminal | WWLT
WLT 9 | WLT - Wells Terminal | 330 | WLT | Wells Terminal | WWLT
WM 3B1 | WM - Western Mining | 11 | WM | Western Mining | WWMG
WM 3B2 | WM - Western Mining | 11 | WM | Western Mining | WWMG
WM 3B3 | WM - Western Mining | 11 | WM | Western Mining | WWMG
WM 8 | WM - Western Mining | 132 | WM | Western Mining | WWMG
WMK 3B11 | WMK - Western Mining Kambalda | 11 | WMK | Western Mining Kambalda | WWMK
WMK 3B12 | WMK - Western Mining Kambalda | 11 | WMK | Western Mining Kambalda | WWMK
WMK 3B21 | WMK - Western Mining Kambalda | 11 | WMK | Western Mining Kambalda | WWMK
WMK 3B22 | WMK - Western Mining Kambalda | 11 | WMK | Western Mining Kambalda | WWMK
WMK 3B31 | WMK - Western Mining Kambalda | 11 | WMK | Western Mining Kambalda | WWMK
WMK 3B32 | WMK - Western Mining Kambalda | 11 | WMK | Western Mining Kambalda | WWMK
WMK 8 | WMK - Western Mining Kambalda | 132 | WMK | Western Mining Kambalda | WWMK
WMS 3B23 | WMS - Western Mining Smelter | 11 | WMS | Western Mining Smelter | WWMS
WMS 8 | WMS - Western Mining Smelter | 132 | WMS | Western Mining Smelter | WWMS
WNO 5B1 | WNO - Wanneroo | 22 | WNO | Wanneroo | WWNO
WNO 5B2 | WNO - Wanneroo | 22 | WNO | Wanneroo | WWNO
WNO 5B3 | WNO - Wanneroo | 22 | WNO | Wanneroo | WWNO
WNO 8 | WNO - Wanneroo | 132 | WNO | Wanneroo | WWNO
WNO bypass | NBT-CKN 81 | 132 | CKN | Clarkson | WCKN
WOR 8 | WOR - Worsley | 132 | WOR | Worsley | WWOR
WSD 7 | WSD - Westralian Sands | 66 | WSD | Westralian Sands | WWSD
WSD G1 | WSD - Westralian Sands | 6.6 | WSD | Westralian Sands | WWSD
WT 501 | WT - Western Terminal | 20.6 | WT | Western Terminal | WWTT
WT 506 | WT - Western Terminal | 20.6 | WT | Western Terminal | WWTT
WT 511 | WT - Western Terminal | 20.6 | WT | Western Terminal | WWTT
WT 700A2 | WT - Western Terminal | 66 | WT | Western Terminal | WWTT
WT 700A3 | WT - Western Terminal | 66 | WT | Western Terminal | WWTT
WT 700A4 | WT - Western Terminal | 66 | WT | Western Terminal | WWTT
WT 800A | WT - Western Terminal | 132 | WT | Western Terminal | WWTT
WT 800B | WT - Western Terminal | 132 | WT | Western Terminal | WWTT
WUN 5B1 | WUN - Wundowie | 22 | WUN | Wundowie | WWUN
WUN 5B3 | WUN - Wundowie | 22 | WUN | Wundowie | WWUN
WUN 7 | WUN - Wundowie | 66 | WUN | Wundowie | WWUN
WWF 0B11 | WWF - walkaway windfarm | 0.69 | WWF | walkaway windfarm | WWWF
WWF 0B12 | WWF - walkaway windfarm | 0.69 | WWF | walkaway windfarm | WWWF
WWF 0B21 | WWF - walkaway windfarm | 0.69 | WWF | walkaway windfarm | WWWF
WWF 0B22 | WWF - walkaway windfarm | 0.69 | WWF | walkaway windfarm | WWWF
WWF 5B11 | WWF - walkaway windfarm | 22 | WWF | walkaway windfarm | WWWF
WWF 5B12 | WWF - walkaway windfarm | 22 | WWF | walkaway windfarm | WWWF
WWF 5B21 | WWF - walkaway windfarm | 22 | WWF | walkaway windfarm | WWWF
WWF 5B22 | WWF - walkaway windfarm | 22 | WWF | walkaway windfarm | WWWF
WWF 8 | WWF - walkaway windfarm | 132 | WWF | walkaway windfarm | WWWF
Y 3B1 | Y - Yokine | 11 | Y | Yokine | WYKE
Y 3B2 | Y - Yokine | 11 | Y | Yokine | WYKE
Y 3B3 | Y - Yokine | 11 | Y | Yokine | WYKE
Y 8 | Y - Yokine | 132 | Y | Yokine | WYKE
YDT 900A | YDT - Yandin Terminal | 330 | YDT | Yandin Terminal | WYDT
YDT 900B | YDT - Yandin Terminal | 330 | YDT | Yandin Terminal | WYDT
YDT 942a | YDT - Yandin Terminal | 330 | YDT | Yandin Terminal | WYDT
YDT 942b | YDT - Yandin Terminal | 330 | YDT | Yandin Terminal | WYDT
YDT 944b | YDT - Yandin Terminal | 330 | YDT | Yandin Terminal | WYDT
YDW 330 kV Bus | YDW - Yandin Wind Farm | 330 | YDW | Yandin Wind Farm | WYDW
YDW 33kV Trafo Bus | YDW - Yandin Wind Farm | 33 | YDW | Yandin Wind Farm | WYDW
YDW 9 | YDW - Yandin Wind Farm | 330 | YDW | Yandin Wind Farm | WYDW
YDW Bus WPP MV | YDW - Yandin Wind Farm | 33 | YDW | Yandin Wind Farm | WYDW
YDW Bus1 | YDW - Yandin Wind Farm | 132 | YDW | Yandin Wind Farm | WYDW
YDW WTG1HV | YDW - Yandin Wind Farm | 33 | YDW | Yandin Wind Farm | WYDW
YDW WTG1LV | YDW - Yandin Wind Farm | 0.72 | YDW | Yandin Wind Farm | WYDW
YDW WTG2HV | YDW - Yandin Wind Farm | 33 | YDW | Yandin Wind Farm | WYDW
YDW WTG2LV | YDW - Yandin Wind Farm | 0.72 | YDW | Yandin Wind Farm | WYDW
YER 0 | YER - Yerbillon | 0.44 | YER | Yerbillon | WYER
YER 7 | YER - Yerbillon | 66 | YER | Yerbillon | WYER
YLN 0T1 | YLN - Yilgarn | 21 | YLN | Yilgarn | WYLN
YLN 0T2 | YLN - Yilgarn | 21 | YLN | Yilgarn | WYLN
YLN 6 | YLN - Yilgarn | 33 | YLN | Yilgarn | WYLN
YLN X00A1 | YLN - Yilgarn | 220 | YLN | Yilgarn | WYLN
YLN X00A2 | YLN - Yilgarn | 220 | YLN | Yilgarn | WYLN
YP 5B1 | YP - Yanchep | 22 | YP | Yanchep | WYCP
YP 5B2 | YP - Yanchep | 22 | YP | Yanchep | WYCP
YP 5B3 | YP - Yanchep | 22 | YP | Yanchep | WYCP
YP 8 | YP - Yanchep | 132 | YP | Yanchep | WYCP
YP 8B | YP - Yanchep | 132 | YP | Yanchep | WYCP

## Note
Notes:
Transmission Node Identifiers (TNIs) included in the "Sub TNI" worksheet are:
1 | All existing TNIs and committed future TNIs expected, as at 11 June 2026, to be in service in October 2028; and
2 | Uncommitted future TNIs appearing in AEMO's post CRC facility list for 2026 RCM.